{"text_format":"1","workbook":"xlsx","n_sheets":8,"sheets":["表紙","細目_AⅠ","細目_BⅡ","細目_CⅢ","細目_CⅣ","細目_DⅤ","別紙細目","採用単価"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":66,"defined_names":2174,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"表紙","index":0,"n_rows":91,"n_cols":9,"rows_kept":91,"cut":false,"hidden":false,"merged":[[37,12,37,23],[39,14,39,15],[39,16,39,17],[39,18,39,19],[39,20,39,21],[7,12,7,23],[8,12,9,23],[15,12,15,23],[32,12,32,23],[33,16,33,21],[37,0,37,11],[39,6,39,7],[39,8,39,9],[7,0,7,11],[8,0,9,11],[15,0,15,11],[33,4,33,9],[39,2,39,3],[39,4,39,5],[32,0,32,11]]}
[]
[]
[]
[]
[]
[]
[]
["浜松医科大学附属図書館等改修その他機械設備工事"]
[]
[]
[]
[]
[]
[]
[]
["参 考 資 料（参 考 数 量）"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["令和元年　６月"]
[]
[]
[]
[]
[" 浜　松　医　科　大　学　施　設　課"]
[]
[null,null,"課　　長",null,"課長補佐",null,"係　　長",null,"担　　当"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,0]

{"sheet":"細目_AⅠ","index":1,"n_rows":781,"n_cols":17,"rows_kept":781,"cut":false,"hidden":false,"merged":[[2,1,3,4],[2,5,3,7],[2,10,3,10],[2,11,3,11],[2,12,3,12],[2,9,3,9],[2,8,3,8]]}
[null,null,"細　目　別　内　訳"]
[]
[null,"名　　　　　称",null,null,null,"規格 形状 寸法",null,null,"数 量","単位","単  価","金    額","備      考"]
[]
[1]
[{"$f":"+A5+1","v":2},null,"Ⅰ　附属図書館改修（第一工区）"]
[3]
[4,null,"１",null,"空気調和設備"]
[5]
[6,null,null,"(1)機器設備"]
[7,null,null,null,"MAC-1-67.0"]
[8,null,null,null,"ﾋﾞﾙ用ﾏﾙﾁ型室外機",null,"冷暖切換型　高効率ﾓﾃﾞﾙ",null,1,"台"]
[9]
[10,null,null,null,null,null,"冷房能力　67.0kW"]
[11]
[12,null,null,null,null,null,"暖房能力　77.5kW"]
[13]
[14,null,null,null,null,null,"付属品　一式共"]
[15,null,null,null,"MAC-11-C4-5.6"]
[16,null,null,null,"ﾋﾞﾙ用ﾏﾙﾁ室内機",null,"天井ｶｾｯﾄ形（4方向）人感ｾﾝｻｰ",null,6,"台"]
[17]
[18,null,null,null,null,null,"冷房能力　5.6kW"]
[19]
[20,null,null,null,null,null,"暖房能力　6.3kW"]
[21]
[22,null,null,null,null,null,"付属品　一式共"]
[23,null,null,null,"MAC-12-C4-4.5"]
[24,null,null,null,"ﾋﾞﾙ用ﾏﾙﾁ室内機",null,"天井ｶｾｯﾄ形（4方向）人感ｾﾝｻｰ",null,8,"台"]
[25]
[26,null,null,null,null,null,"冷房能力　4.5kW"]
[27]
[28,null,null,null,null,null,"暖房能力　5.0kW"]
[29]
[30,null,null,null,null,null,"付属品　一式共"]
[31,null,null,null,"MAC-3-22.4"]
[32,null,null,null,"ﾋﾞﾙ用ﾏﾙﾁ型室外機",null,"冷暖切換型　高効率ﾓﾃﾞﾙ",null,1,"台"]
[33]
[34,null,null,null,null,null,"冷房能力　22.4kW"]
[35]
[36,null,null,null,null,null,"暖房能力　25.0kW"]
[37]
[38,null,null,null,null,null,"付属品　一式共"]
[39,null,null,null,"MAC-31-C4-7.1"]
[40,null,null,null,"ﾋﾞﾙ用ﾏﾙﾁ室内機",null,"天井ｶｾｯﾄ形（4方向）人感ｾﾝｻｰ",null,1,"台"]
[41]
[42,null,null,null,null,null,"冷房能力　7.1kW"]
[43]
[44,null,null,null,null,null,"暖房能力　8.0kW"]
[45]
[46,null,null,null,null,null,"付属品　一式共"]
[47,null,null,null,"MAC-32-C4-7.1"]
[48,null,null,null,"ﾋﾞﾙ用ﾏﾙﾁ室内機",null,"天井ｶｾｯﾄ形（4方向）人感ｾﾝｻｰ",null,1,"台"]
[49]
[50,null,null,null,null,null,"冷房能力　7.1kW"]
[51]
[52,null,null,null,null,null,"暖房能力　8.0kW"]
[53]
[54,null,null,null,null,null,"付属品　一式共"]
[55,null,null,null,"MAC-33-D-7.1"]
[56,null,null,null,"ﾋﾞﾙ用ﾏﾙﾁ室内機",null,"天井埋込ﾀﾞｸﾄ形",null,1,"台"]
[57]
[58,null,null,null,null,null,"冷房能力　7.1kW"]
[59]
[60,null,null,null,null,null,"暖房能力　8.0kW"]
[61]
[62,null,null,null,null,null,"付属品　一式共"]
[63,null,null,null,"MAC-4-90.0"]
[64,null,null,null,"ﾋﾞﾙ用ﾏﾙﾁ型室外機",null,"冷暖切換型　高効率ﾓﾃﾞﾙ",null,1,"台"]
[65]
[{"$f":"+A69+1","v":66},null,null,null,null,null,"冷房能力　90.0kW"]
[67]
[68,null,null,null,null,null,"暖房能力　100.0kW"]
[69]
[70,null,null,null,null,null,"付属品　一式共"]
[1,null,null,null,"MAC-41-C4-7.1"]
[{"$f":"+A75+1","v":2},null,null,null,"ﾋﾞﾙ用ﾏﾙﾁ室内機",null,"天井ｶｾｯﾄ形（4方向）人感ｾﾝｻｰ",null,8,"台"]
[3]
[4,null,null,null,null,null,"冷房能力　7.1kW"]
[5]
[6,null,null,null,null,null,"暖房能力　8.0kW"]
[7]
[8,null,null,null,null,null,"付属品　一式共"]
[9,null,null,null,"MAC-42-C4-4.5"]
[10,null,null,null,"ﾋﾞﾙ用ﾏﾙﾁ室内機",null,"天井ｶｾｯﾄ形（4方向）人感ｾﾝｻｰ",null,6,"台"]
[11]
[12,null,null,null,null,null,"冷房能力　4.5kW"]
[13]
[14,null,null,null,null,null,"暖房能力　5.0kW"]
[15]
[16,null,null,null,null,null,"付属品　一式共"]
[17,null,null,null,"MAC-43-C2-4.5"]
[18,null,null,null,"ﾋﾞﾙ用ﾏﾙﾁ室内機",null,"天井ｶｾｯﾄ形（2方向）人感ｾﾝｻｰ",null,1,"台"]
[19]
[20,null,null,null,null,null,"冷房能力　4.5kW"]
[21]
[22,null,null,null,null,null,"暖房能力　5.0kW"]
[23]
[24,null,null,null,null,null,"付属品　一式共"]
[25,null,null,null,"MAC-6-33.5"]
[26,null,null,null,"ﾋﾞﾙ用ﾏﾙﾁ型室外機",null,"冷暖切換型　高効率ﾓﾃﾞﾙ",null,1,"台"]
[27]
[28,null,null,null,null,null,"冷房能力　33.5kW"]
[29]
[30,null,null,null,null,null,"暖房能力　37.5kW"]
[31]
[32,null,null,null,null,null,"付属品　一式共"]
[33,null,null,null,"MAC-61-C4-7.1"]
[34,null,null,null,"ﾋﾞﾙ用ﾏﾙﾁ室内機",null,"天井ｶｾｯﾄ形（4方向）人感ｾﾝｻｰ",null,5,"台"]
[35]
[36,null,null,null,null,null,"冷房能力　7.1kW"]
[37]
[38,null,null,null,null,null,"暖房能力　8.0kW"]
[39]
[40,null,null,null,null,null,"付属品　一式共"]
[41,null,null,null,"OAC-1-16.0"]
[42,null,null,null,"ﾋﾞﾙ用ﾏﾙﾁ型室外機",null,"冷暖切換型　高効率ﾓﾃﾞﾙ",null,1,"台"]
[43]
[44,null,null,null,null,null,"冷房能力　16.0kW"]
[45]
[46,null,null,null,null,null,"暖房能力　18.0kW"]
[47]
[48,null,null,null,null,null,"付属品　一式共"]
[49,null,null,null,"OAC-11-D-50"]
[50,null,null,null,"ﾋﾞﾙ用ﾏﾙﾁ室内機",null,"外気処理ﾕﾆｯﾄ（全熱交換器付）",null,4,"台"]
[51]
[52,null,null,null,null,null,"送風量　500m3/h"]
[53]
[54,null,null,null,null,null,"機外静圧　240Pa"]
[55]
[56,null,null,null,null,null,"付属品　一式共"]
[57,null,null,null,"OAC-3-22.4"]
[58,null,null,null,"ﾋﾞﾙ用ﾏﾙﾁ型室外機",null,"冷暖切換型　高効率ﾓﾃﾞﾙ",null,1,"台"]
[59]
[60,null,null,null,null,null,"冷房能力　22.4kW"]
[61]
[62,null,null,null,null,null,"暖房能力　25.0kW"]
[63]
[64,null,null,null,null,null,"付属品　一式共"]
[65,null,null,null,"OAC-31-D-100"]
[{"$f":"+A139+1","v":66},null,null,null,"ﾋﾞﾙ用ﾏﾙﾁ室内機",null,"外気処理ﾕﾆｯﾄ（全熱交換器付）",null,2,"台"]
[67]
[68,null,null,null,null,null,"送風量　1000m3/h"]
[69]
[70,null,null,null,null,null,"機外静圧　225Pa"]
[1]
[{"$f":"+A145+1","v":2},null,null,null,null,null,"付属品　一式共"]
[3,null,null,null,"OAC-32-D-50"]
[4,null,null,null,"ﾋﾞﾙ用ﾏﾙﾁ室内機",null,"外気処理ﾕﾆｯﾄ（全熱交換器付）",null,2,"台"]
[5]
[6,null,null,null,null,null,"送風量　500m3/h"]
[7]
[8,null,null,null,null,null,"機外静圧　240Pa"]
[9]
[10,null,null,null,null,null,"付属品　一式共"]
[11,null,null,null,"PAC-1-11.2"]
[12,null,null,null,"ﾊﾟｯｹｰｼﾞｴｱｺﾝ用室外機",null,"天井ｶｾｯﾄ形（4方向）人感ｾﾝｻｰ",null,1,"台"]
[13,null,null,null,"PAC-1-C4-5.6"]
[14,null,null,null,"ﾊﾟｯｹｰｼﾞｴｱｺﾝ用室内機",null,"冷房能力　10.0kW"]
[15]
[16,null,null,null,"同時ﾂｲﾝ、ｲﾝﾊﾞｰﾀｰﾀｲﾌﾟ",null,"暖房能力　11.2kW"]
[17]
[18,null,null,null,null,null,"付属品　一式共"]
[19,null,null,null,"RS-1"]
[20,null,null,null,"ｺﾝﾄﾛｰﾗｰ",null,"集中管理ｺﾝﾄﾛｰﾗｰ",null,1,"台"]
[21,null,null,null,"図書系統"]
[22,null,null,null,null,null,"ﾊﾟｯｹｰｼﾞｴｱｺﾝ用"]
[23]
[24,null,null,null,null,null,"ﾀｯﾁﾊﾟﾈﾙ"]
[25]
[26,null,null,null,null,null,"付属品　一式共"]
[27,null,null,null,"JS-1"]
[28,null,null,null,"除湿機",null,"床置形",null,3,"台"]
[29]
[30,null,null,null,null,null,"除湿能力　2.2L/h"]
[31]
[32,null,null,null,null,null,"送風量　720m3/h"]
[33]
[34,null,null,null,null,null,"付属品　一式共"]
[35]
[36,null,null,null,"機器搬入据付費",null,"既設機器再取付含む",null,1,"式"]
[37]
[38,null,null,null,"計"]
[39]
[40]
[41]
[42,null,null,"(2)ﾀﾞｸﾄ設備"]
[43,null,null,null,null,null,"亜鉛鉄板"]
[44,null,null,null,"ｽﾊﾟｲﾗﾙﾀﾞｸﾄ",null,"低圧","200φ",331,"m"]
[45,null,null,null,null,null,"亜鉛鉄板"]
[46,null,null,null,"ｽﾊﾟｲﾗﾙﾀﾞｸﾄ",null,"低圧","250φ",129,"m"]
[47,null,null,null,null,null,"亜鉛鉄板"]
[48,null,null,null,"ｽﾊﾟｲﾗﾙﾀﾞｸﾄ",null,"低圧","300φ",5,"m"]
[49]
[50,null,null,null,"ﾁｬﾝﾊﾞｰﾎﾞｯｸｽ類",null,null,null,1,"式"]
[51]
[52,null,null,null,"制気口類",null,"ﾍﾞﾝﾄｷｬｯﾌﾟ含む",null,1,"式"]
[53]
[54,null,null,null,"ﾀﾞﾝﾊﾟｰ類",null,null,null,1,"式"]
[55]
[56,null,null,null,"保温・塗装",null,null,null,1,"式"]
[57]
[58,null,null,null,"はつり工事",null,null,null,1,"式"]
[59]
[60,null,null,null,"計"]
[61]
[62]
[63]
[64,null,null,"(3)配管設備"]
[65]
[{"$f":"+A209+1","v":66},null,null,null,"冷媒用被覆銅管(液管）",null," 6.4φ",null,93,"ｍ"]
[67]
[68,null,null,null,"冷媒用被覆銅管(液管）",null," 9.5φ",null,420,"ｍ"]
[69]
[70,null,null,null,"冷媒用被覆銅管(液管）",null,"12.7φ",null,56,"ｍ"]
[1]
[{"$f":"+A215+1","v":2},null,null,null,"冷媒用被覆銅管(液管）",null,"15.9φ",null,26,"ｍ"]
[3]
[4,null,null,null,"冷媒用被覆銅管(液管）",null,"19.1φ",null,31,"ｍ"]
[5]
[6,null,null,null,"冷媒用被覆銅管(ｶﾞｽ管）",null,"12.7φ",null,93,"ｍ"]
[7]
[8,null,null,null,"冷媒用被覆銅管(ｶﾞｽ管）",null,"15.9φ",null,263,"ｍ"]
[9]
[10,null,null,null,"冷媒用被覆銅管(ｶﾞｽ管）",null,"19.1φ",null,130,"ｍ"]
[11]
[12,null,null,null,"冷媒用被覆銅管(ｶﾞｽ管）",null,"22.2φ",null,27,"ｍ"]
[13]
[14,null,null,null,"冷媒用被覆銅管(ｶﾞｽ管）",null,"25.4φ",null,56,"ｍ"]
[15]
[16,null,null,null,"冷媒用被覆銅管(ｶﾞｽ管）",null,"28.6φ",null,26,"ｍ"]
[17]
[18,null,null,null,"冷媒用被覆銅管(ｶﾞｽ管）",null,"31.8φ",null,31,"ｍ"]
[19,null,null,null,"ﾄﾞﾚﾝ　",null,"VP"]
[20,null,null,null,"耐火二層管",null,"屋内一般","40A",242,"ｍ"]
[21,null,null,null,"ﾄﾞﾚﾝ　",null,"VP"]
[22,null,null,null,"耐火二層管",null,"屋内一般","50A",91,"ｍ"]
[23,null,null,null,"ﾄﾞﾚﾝ　",null,"VP"]
[24,null,null,null,"耐火二層管",null,"屋内一般","65A",63.6,"ｍ"]
[25,null,null,null,"ﾄﾞﾚﾝ　",null,"VP"]
[26,null,null,null,"硬質ﾎﾟﾘ塩化ﾋﾞﾆﾙ管",null,"屋外","50A",2,"ｍ"]
[27,null,null,null,"給水　"]
[28,null,null,null,"ｽﾃﾝﾚｽ鋼鋼管",null,"屋内一般","20su",167,"ｍ"]
[29,null,null,null,"給水　"]
[30,null,null,null,"ｽﾃﾝﾚｽ鋼鋼管",null,"屋内一般","25su",4,"ｍ"]
[31,null,null,null,"給水　"]
[32,null,null,null,"ｽﾃﾝﾚｽ鋼鋼管",null,"屋外","20su",3,"ｍ"]
[33]
[34,null,null,null,"ﾊﾞﾙﾌﾞ・ﾌﾚｷ類",null,null,null,1,"式"]
[35]
[36,null,null,null,"Cﾄﾗｯﾌﾟ",null,null,null,1,"式"]
[37]
[38,null,null,null,"連絡線工事",null,null,null,1,"式"]
[39]
[40,null,null,null,"保温・塗装",null,null,null,1,"式"]
[41]
[42,null,null,null,"防火区画貫通処理",null,null,null,1,"式"]
[43]
[44,null,null,null,"配管架台",null,null,null,1,"式"]
[45]
[46,null,null,null,"はつり工事",null,null,null,1,"式"]
[47]
[48,null,null,null,"形鋼振止支持",null,null,null,1,"式"]
[49]
[50,null,null,null,"計"]
[51]
[52]
[53]
[54,null,null,"(4)総合調整"]
[55]
[56,null,null,null,"総合調整費",null,null,null,1,"式"]
[57]
[58,null,null,null,"計"]
[59]
[60]
[61]
[62,null,"２　換気設備"]
[63]
[64,null,null,"(1)機器設備"]
[65,null,null,null,"HX-C-15"]
[{"$f":"+A279+1","v":66},null,null,null,"全熱交換器",null,"天井ｶｾｯﾄ型",null,5,"台"]
[67]
[68,null,null,null,null,null,"150m3/h x 150Pa"]
[69,null,null,null,"HX-C-25"]
[70,null,null,null,"全熱交換器",null,"天井ｶｾｯﾄ型",null,4,"台"]
[1]
[{"$f":"+A285+1","v":2},null,null,null,null,null,"250m3/h x 150Pa"]
[3,null,null,null,"EF-SS-15"]
[4,null,null,null,"排風機",null,"消音ｽﾄﾚｰﾄｼﾛｯｺﾌｧﾝ",null,4,"台"]
[5]
[6,null,null,null,null,null,"150m3/h x 140Pa"]
[7,null,null,null,"EF-SS-15"]
[8,null,null,null,"排風機",null,"消音ｽﾄﾚｰﾄｼﾛｯｺﾌｧﾝ（人感ｾﾝｻｰ）",null,1,"台"]
[9]
[10,null,null,null,null,null,"150m3/h x 140Pa"]
[11,null,null,null,"EF-SS-25"]
[12,null,null,null,"排風機",null,"消音ｽﾄﾚｰﾄｼﾛｯｺﾌｧﾝ",null,2,"台"]
[13]
[14,null,null,null,null,null,"250m3/h x 150Pa"]
[15,null,null,null,"EF-SS-25"]
[16,null,null,null,"排風機",null,"消音ｽﾄﾚｰﾄｼﾛｯｺﾌｧﾝ（人感ｾﾝｻｰ）",null,2,"台"]
[17]
[18,null,null,null,null,null,"250m3/h x 150Pa"]
[19,null,null,null,"EF-SS-50"]
[20,null,null,null,"排風機",null,"消音ｽﾄﾚｰﾄｼﾛｯｺﾌｧﾝ",null,3,"台"]
[21]
[22,null,null,null,null,null,"500m3/h x 150Pa"]
[23,null,null,null,"AK-38"]
[24,null,null,null,"ｴｱｰ搬送ﾌｧﾝ",null,"低騒音　ｲﾝﾃﾘｱﾀｲﾌﾟ",null,20,"台"]
[25]
[26,null,null,null,null,null,"380m3/h"]
[27]
[28,null,null,null,"機器搬入据付費",null,null,null,1,"式"]
[29]
[30,null,null,null,"計"]
[31]
[32]
[33]
[34,null,null,"(2)ﾀﾞｸﾄ設備"]
[35,null,null,null,null,null,"亜鉛鉄板"]
[36,null,null,null,"ｽﾊﾟｲﾗﾙﾀﾞｸﾄ",null,"低圧","150φ",371,"m"]
[37,null,null,null,null,null,"亜鉛鉄板"]
[38,null,null,null,"ｽﾊﾟｲﾗﾙﾀﾞｸﾄ",null,"低圧","200φ",71,"m"]
[39,null,null,null,null,null,"亜鉛鉄板"]
[40,null,null,null,"ｽﾊﾟｲﾗﾙﾀﾞｸﾄ",null,"低圧","250φ",3,"m"]
[41]
[42,null,null,null,"ﾁｬﾝﾊﾞｰﾎﾞｯｸｽ類",null,null,null,1,"式"]
[43]
[44,null,null,null,"制気口類",null,"ﾍﾞﾝﾄｷｬｯﾌﾟ含む",null,1,"式"]
[45]
[46,null,null,null,"ﾀﾞﾝﾊﾟｰ類",null,null,null,1,"式"]
[47]
[48,null,null,null,"保温・塗装",null,null,null,1,"式"]
[49]
[50,null,null,null,"はつり工事",null,null,null,1,"式"]
[51]
[52,null,null,null,"計"]
[53]
[54]
[55]
[56,null,null,"(3)総合調整"]
[57]
[58,null,null,null,"総合調整費",null,null,null,1,"式"]
[59]
[60,null,null,null,"計"]
[61]
[62]
[63]
[64,null,"３",null,"自動制御設備"]
[65]
[{"$f":"+A349+1","v":66},null,null,"(1)自動制御設備"]
[67]
[68,null,null,null,"自動制御機器",null,null,null,1,"式"]
[69]
[70,null,null,null,"既設中央監視装置及び盤関係",null,null,null,1,"式"]
[1]
[{"$f":"+A355+1","v":2},null,null,null,"ｴﾝｼﾞﾆｱﾘﾝｸﾞ費",null,null,null,1,"式"]
[3]
[4,null,null,null,"調整費",null,null,null,1,"式"]
[5]
[6,null,null,null,"計装工事",null,null,null,1,"式"]
[7]
[8,null,null,null,"諸経費",null,null,null,1,"式"]
[9]
[10,null,null,null,"計"]
[11]
[12]
[13]
[14,null,null,"(2)動力設備"]
[15]
[16,null,null,null,"動力盤",null,"1TP-1",null,1,"面"]
[17]
[18,null,null,null,"動力盤",null,"1TP-2",null,1,"面"]
[19]
[20,null,null,null,"電線",null,null,null,1,"式"]
[21]
[{"$f":"+A375+1","v":22},null,null,null,"電線管",null,null,null,1,"式"]
[23]
[24,null,null,null,"ｹｰﾌﾞﾙ",null,null,null,1,"式"]
[25]
[26,null,null,null,"ﾎﾞｯｸｽ類",null,null,null,1,"式"]
[27]
[{"$f":"+A381+1","v":28},null,null,null,"ケーブルラック",null,null,null,1,"式"]
[29]
[30,null,null,null,"計"]
[31]
[32]
[33]
[34,null,"４",null,"　衛生器具設備"]
[35]
[36,null,null,"(1)衛生器具設備"]
[37,null,null,null,"C-1"]
[38,null,null,null,"多機能ﾄｲﾚﾊﾟｯｸ",null,"UADAK21L2A1ADD1WA",null,1,"組"]
[39,null,null,null,"L-1"]
[40,null,null,null,"洗面器（単水栓）",null,"LDBA060BAGDS1A",null,1,"組"]
[41,null,null,null,"S-1"]
[42,null,null,null,"ｼﾝｸﾞﾙﾚﾊﾞｰ混合水栓",null,"TKGG33EC",null,1,"組"]
[43,null,null,null,"S-3"]
[44,null,null,null,"散水栓",null,"T28KUNH13",null,1,"組"]
[45,null,null,null,"M-1"]
[46,null,null,null,"化粧鏡（耐食鏡）",null,"YM3545F",null,1,"組"]
[47]
[48,null,null,null,"散水栓ﾎﾞｯｸｽ",null,"ｽﾃﾝﾚｽ",null,1,"組"]
[49]
[50,null,null,null,"器具取付費",null,"既設器具再取付含む",null,1,"式"]
[51]
[52,null,null,null,"計"]
[53]
[54]
[55]
[56,null,"５",null,"屋外給水設備"]
[57]
[58,null,null,"(1)雑用水給水設備"]
[59]
[60,null,null,null,"水道用耐震型高性能ﾎﾟﾘｴﾁﾚﾝ管",null,"地中","20A",4,"ｍ"]
[61]
[62,null,null,null,"水道用耐震型高性能ﾎﾟﾘｴﾁﾚﾝ管",null,"地中","25A",30,"ｍ"]
[63]
[64,null,null,null,"ﾊﾞﾙﾌﾞ類",null,null,null,1,"式"]
[65]
[66,null,null,null,"弁桝",null,null,null,1,"式"]
[67]
[68,null,null,null,"埋設配管表示",null,null,null,1,"式"]
[69]
[70,null,null,null,"埋設テープ",null,null,null,1,"式"]
[1]
[2,null,null,null,"土工事",null,null,null,1,"式"]
[3]
[4,null,null,null,"計"]
[5]
[6]
[7]
[{"$f":"+A431+1","v":8},null,"６",null,"屋内給水設備"]
[9]
[10,null,null,"(1)上水給水設備"]
[11]
[12,null,null,null,"ｽﾃﾝﾚｽ鋼鋼管",null,"屋内一般","20su",30,"ｍ"]
[13]
[14,null,null,null,"ｽﾃﾝﾚｽ鋼鋼管",null,"屋内一般","30su",13,"ｍ"]
[15]
[16,null,null,null,"ｽﾃﾝﾚｽ鋼鋼管",null,"屋内一般","40su",15,"ｍ"]
[17]
[18,null,null,null,"ｽﾃﾝﾚｽ鋼鋼管",null,"屋内一般","50su",11,"ｍ"]
[19]
[20,null,null,null,"ｽﾃﾝﾚｽ鋼鋼管",null,"屋内一般","100su",22,"ｍ"]
[21]
[22,null,null,null,"ｽﾃﾝﾚｽ鋼鋼管",null,"機械室・便所","20su",21,"ｍ"]
[{"$f":"+A446+1","v":23}]
[24,null,null,null,"ｽﾃﾝﾚｽ鋼鋼管",null,"機械室・便所","25su",6,"ｍ"]
[25]
[26,null,null,null,"ｽﾃﾝﾚｽ鋼鋼管",null,"機械室・便所","30su",2,"ｍ"]
[27]
[28,null,null,null,"ｽﾃﾝﾚｽ鋼鋼管",null,"機械室・便所","40su",4,"ｍ"]
[29]
[30,null,null,null,"ﾊﾞﾙﾌﾞ・ﾌﾚｷ類",null,null,null,1,"式"]
[31]
[32,null,null,null,"量水器",null,null,null,1,"式"]
[33]
[34,null,null,null,"保温・塗装",null,null,null,1,"式"]
[35]
[36,null,null,null,"既設管切断・接続",null,null,null,1,"式"]
[37]
[38,null,null,null,"はつり工事",null,null,null,1,"式"]
[39]
[40,null,null,null,"形鋼振止支持",null,null,null,1,"式"]
[41]
[42,null,null,null,"計"]
[43]
[44]
[45]
[46,null,null,"(2)雑用水給水設備"]
[47]
[48,null,null,null,"ｽﾃﾝﾚｽ鋼鋼管",null,"屋内一般","25su",24,"ｍ"]
[49]
[50,null,null,null,"ｽﾃﾝﾚｽ鋼鋼管",null,"屋内一般","50su",23,"ｍ"]
[51]
[52,null,null,null,"ｽﾃﾝﾚｽ鋼鋼管",null,"屋内一般","100su",23,"ｍ"]
[53]
[54,null,null,null,"ｽﾃﾝﾚｽ鋼鋼管",null,"機械室・便所","20su",7,"ｍ"]
[55]
[56,null,null,null,"ｽﾃﾝﾚｽ鋼鋼管",null,"機械室・便所","25su",9,"ｍ"]
[57]
[58,null,null,null,"ｽﾃﾝﾚｽ鋼鋼管",null,"機械室・便所","30su",3,"ｍ"]
[59]
[60,null,null,null,"ｽﾃﾝﾚｽ鋼鋼管",null,"機械室・便所","40su",2,"ｍ"]
[61]
[62,null,null,null,"ｽﾃﾝﾚｽ鋼鋼管",null,"機械室・便所","50su",4,"ｍ"]
[63]
[64,null,null,null,"ﾊﾞﾙﾌﾞ・ﾌﾚｷ類",null,null,null,1,"式"]
[65]
[66,null,null,null,"量水器",null,null,null,1,"式"]
[67]
[68,null,null,null,"保温・塗装",null,null,null,1,"式"]
[69]
[70,null,null,null,"既設管切断・接続",null,null,null,1,"式"]
[1]
[{"$f":"+A495+1","v":2},null,null,null,"はつり工事",null,null,null,1,"式"]
[3]
[4,null,null,null,"形鋼振止支持",null,null,null,1,"式"]
[5]
[6,null,null,null,"計"]
[7]
[8]
[9]
[10,null,"７",null,"屋外排水設備"]
[11]
[12,null,null,"(1)排水設備"]
[13,null,null,null,null,null,"VP"]
[14,null,null,null,"硬質ﾎﾟﾘ塩化ﾋﾞﾆﾙ管",null,"地中","65A",5,"ｍ"]
[15,null,null,null,null,null,"VP"]
[16,null,null,null,"硬質ﾎﾟﾘ塩化ﾋﾞﾆﾙ管",null,"地中","100A",2,"ｍ"]
[17]
[18,null,null,null,"桝類",null,null,null,1,"式"]
[19]
[20,null,null,null,"既設管切断・接続",null,null,null,1,"式"]
[21]
[22,null,null,null,"土工事",null,null,null,1,"式"]
[23]
[24,null,null,null,"計"]
[25]
[26]
[27]
[28,null,"８",null,"屋内排水設備"]
[29]
[30,null,null,"(1)排水設備"]
[31,null,null,null,"排水",null,"VP"]
[32,null,null,null,"耐火二層管",null,"屋内一般","50A",2,"ｍ"]
[33,null,null,null,"排水",null,"VP"]
[34,null,null,null,"耐火二層管",null,"屋内一般","65A",77,"ｍ"]
[35,null,null,null,"排水",null,"VP"]
[36,null,null,null,"耐火二層管",null,"機械室・便所","40A",5,"ｍ"]
[37,null,null,null,"排水",null,"VP"]
[38,null,null,null,"耐火二層管",null,"機械室・便所","50A",2,"ｍ"]
[39,null,null,null,"排水",null,"VP"]
[40,null,null,null,"耐火二層管",null,"機械室・便所","65A",9,"ｍ"]
[41,null,null,null,"排水",null,"VP"]
[42,null,0,null,"耐火二層管",null,"機械室・便所","75A",5,"ｍ"]
[43,null,null,null,"排水",null,"VP"]
[44,null,null,null,"耐火二層管",null,"機械室・便所","100A",14,"ｍ"]
[45,null,null,null,"通気",null,"VP"]
[46,null,null,null,"耐火二層管",null,"屋内一般","65A",5,"ｍ"]
[47,null,null,null,"通気",null,"VP"]
[48,null,null,null,"耐火二層管",null,"機械室・便所","50A",1,"ｍ"]
[49,null,null,null,"通気",null,"VP"]
[50,null,null,null,"耐火二層管",null,"機械室・便所","65A",4,"ｍ"]
[51]
[52,null,0,null,"排水金物",null,null,null,1,"式"]
[53]
[54,null,null,null,"通気金物",null,null,null,1,"式"]
[55]
[56,null,null,null,"はつり工事",null,null,null,1,"式"]
[57]
[58,null,null,null,"形鋼振止支持",null,null,null,1,"式"]
[59]
[60,null,null,null,"計"]
[61]
[62]
[63]
[64,null,"９",null,"給湯設備"]
[65]
[{"$f":"+A559+1","v":66},null,null,"(1)給湯設備"]
[67,null,null,null,"EW-1",null,"貯湯式床置型電気温水器"]
[68,null,null,null,"電気温水器",null,"貯湯量20L",null,1,"台"]
[69]
[70,null,null,null,"機器搬入据付費",null,null,null,1,"式"]
[1]
[{"$f":"+A565+1","v":2},null,null,null,"ｽﾃﾝﾚｽ鋼鋼管",null,"屋内一般","20su",1,"ｍ"]
[3]
[4,null,null,null,"保温・塗装",null,null,null,1,"式"]
[5]
[6,null,null,null,"ﾊﾞﾙﾌﾞ・ﾌﾚｷ類",null,null,null,1,"式"]
[7]
[8,null,null,null,"計"]
[9]
[10]
[11]
[12,null,"10",null,"消火設備"]
[13]
[14,null,null,"(1)屋内消火栓設備"]
[15,null,null,null,"HB-1A"]
[16,null,null,null,"屋内消火栓箱",null,"易操作性1号消火栓(埋込形)",null,1,"台"]
[17,null,null,null,"HB-1B"]
[18,null,null,null,"屋内消火栓箱",null,"易操作性1号消火栓(露出形)",null,1,"台"]
[19]
[20,null,null,null,"ﾃｽﾄ弁",null,null,null,1,"ケ"]
[21]
[22,null,null,null,"配管用炭素鋼鋼管（白）",null,"屋内一般","50A",71,"ｍ"]
[23]
[24,null,null,null,"配管用炭素鋼鋼管（白）",null,"屋内一般","65A",11,"ｍ"]
[25]
[26,null,null,null,"配管用炭素鋼鋼管（白）",null,"屋内一般","100A",21,"ｍ"]
[27]
[28,null,null,null,"配管用炭素鋼鋼管（白）",null,"屋外","50A",1,"ｍ"]
[29]
[30,null,null,null,"ﾊﾞﾙﾌﾞ・ﾌﾚｷ類",null,null,null,1,"式"]
[31]
[32,null,null,null,"保温・塗装",null,null,null,1,"式"]
[33]
[34,null,null,null,"既設管切断・接続",null,null,null,1,"式"]
[35]
[36,null,null,null,"はつり工事",null,null,null,1,"式"]
[37]
[38,null,null,null,"形鋼振止支持",null,null,null,1,"式"]
[39]
[40,null,null,null,"計"]
[41]
[42]
[43]
[44,null,"11",null,"撤去工事"]
[45]
[46,null,null,null,"機器類撤去",null,null,null,1,"式"]
[47]
[48,null,null,null,"ｱｽﾍﾞｽﾄ・吸収液処理",null,"冷温水発生器",null,1,"式"]
[49]
[50,null,null,null,"計"]
[51]
[52]
[53]
[54,null,"12",null,"発生材処理"]
[55]
[56,null,null,null,"発生材積込",null,null,null,1,"式"]
[57]
[58,null,null,null,"発生材運搬",null,null,null,1,"式"]
[59]
[60,null,null,null,"発生材処分",null,null,null,1,"式"]
[61]
[62,null,null,null,"計"]
[63]
[64]
[65]
[{"$f":"+A629+1","v":66}]
[67]
[68]
[69]
[70]
[1]
[{"$f":"+A635+1","v":2}]
[3]
[4]
[5]
[6]
[7]
[8]
[9]
[10]
[11]
[12]
[13]
[14]
[15]
[16]
[17]
[18]
[19]
[20]
[21]
[22]
[23]
[24]
[25]
[26]
[27]
[28]
[29]
[30]
[31]
[32,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"+O666*0.5","v":0},{"$f":"+ROUNDDOWN(P666,3-LENB(FIXED(P666,0,1)))","v":0}]
[33]
[34]
[35]
[36]
[37]
[38]
[39]
[40]
[41]
[42]
[43]
[44]
[45]
[46]
[47]
[48]
[49]
[50]
[51]
[52]
[53]
[54]
[55]
[56]
[57]
[58]
[59]
[60]
[61]
[{"$f":"+A695+1","v":62}]
[63]
[64]
[65]
[66]
[67]
[68]
[69]
[{"$f":"+A703+1","v":70}]
[1]
[2]
[3]
[4]
[5]
[6]
[7]
[8]
[9]
[10]
[11]
[12]
[13]
[14]
[15]
[16]
[17]
[18]
[19]
[20]
[21]
[22]
[23]
[24]
[25]
[26]
[27]
[28]
[29]
[30,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"+O734*0.5","v":0},{"$f":"+ROUNDDOWN(P734,3-LENB(FIXED(P734,0,1)))","v":0}]
[31]
[32]
[33]
[34]
[35]
[36]
[37]
[38]
[39]
[40]
[41]
[42]
[43]
[44]
[45]
[46]
[47]
[48]
[49]
[50]
[51]
[52]
[53]
[54]
[55]
[56]
[57]
[58]
[59]
[60]
[61]
[{"$f":"+A765+1","v":62}]
[63]
[64]
[65]
[66]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,{"$f":"SUM(L5:L684)/2","v":0}]

{"sheet":"細目_BⅡ","index":2,"n_rows":284,"n_cols":17,"rows_kept":284,"cut":false,"hidden":false,"merged":[[2,12,3,12],[2,1,3,4],[2,5,3,7],[2,8,3,8],[2,9,3,9],[2,10,3,10],[2,11,3,11]]}
[null,null,"細　目　別　内　訳"]
[]
[null,"名　　　　　称",null,null,null,"規格 形状 寸法",null,null,"数 量","単位","単  価","金    額","備      考"]
[]
[1]
[{"$f":"+A5+1","v":2},null,"Ⅱ　福利施設棟改修（第一工区）"]
[3]
[4,null,"１",null,"空気調和設備"]
[5]
[6,null,null,"(1)機器設備"]
[7]
[8,null,null,null,"機器搬入据付費",null,"既設機器再取付",null,1,"式"]
[9]
[10,null,null,null,"動力設備",null,null,null,1,"式"]
[11]
[12,null,null,null,"計"]
[13]
[14]
[15]
[16,null,null,"(2)配管設備"]
[17]
[18,null,null,null,"冷媒用被覆銅管(液管）",null," 9.5φ",null,20,"ｍ"]
[19]
[20,null,null,null,"冷媒用被覆銅管(ｶﾞｽ管）",null,"15.9φ",null,20,"ｍ"]
[21,null,null,null,"ﾄﾞﾚﾝ　",null,"VP"]
[22,null,null,null,"硬質ﾎﾟﾘ塩化ﾋﾞﾆﾙ管",null,"屋外","50A",7,"ｍ"]
[23]
[24,null,null,null,"Cﾄﾗｯﾌﾟ",null,null,null,1,"式"]
[25]
[26,null,null,null,"連絡線工事",null,null,null,1,"式"]
[27]
[28,null,null,null,"保温・塗装",null,null,null,1,"式"]
[29]
[30,null,null,null,"計"]
[31]
[32]
[33]
[34,null,"２　換気設備"]
[35]
[36,null,null,"(1)機器設備"]
[37,null,null,null,"EF-SS-15"]
[38,null,null,null,"排風機",null,"消音ｽﾄﾚｰﾄｼﾛｯｺﾌｧﾝ",null,2,"台"]
[39]
[40,null,null,null,null,null,"150m3/h x 140Pa"]
[41]
[42,null,null,null,"機器搬入据付費",null,null,null,1,"式"]
[43]
[44,null,null,null,"計"]
[45]
[46]
[47]
[48,null,null,"(2)ﾀﾞｸﾄ設備"]
[49,null,null,null,null,null,"亜鉛鉄板"]
[50,null,null,null,"ｽﾊﾟｲﾗﾙﾀﾞｸﾄ",null,"低圧","150φ",11,"m"]
[51,null,null,null,null,null,"亜鉛鉄板"]
[52,null,null,null,"ｽﾊﾟｲﾗﾙﾀﾞｸﾄ",null,"低圧","200φ",4,"m"]
[53]
[54,null,null,null,"ﾁｬﾝﾊﾞｰﾎﾞｯｸｽ類",null,null,null,1,"式"]
[55]
[56,null,null,null,"制気口類",null,"ﾍﾞﾝﾄｷｬｯﾌﾟ含む",null,1,"式"]
[57]
[58,null,null,null,"ﾀﾞﾝﾊﾟｰ類",null,null,null,1,"式"]
[59]
[60,null,null,null,"保温・塗装",null,null,null,1,"式"]
[61]
[62,null,null,null,"計"]
[63]
[64]
[65]
[{"$f":"+A69+1","v":66},null,null,"(3)総合調整"]
[67]
[68,null,null,null,"総合調整費",null,null,null,1,"式"]
[69]
[70,null,null,null,"計"]
[1]
[{"$f":"+A75+1","v":2}]
[3]
[4,null,"３",null,"　衛生器具設備"]
[5]
[6,null,null,"(1)衛生器具設備"]
[7,null,null,null,"S-2"]
[8,null,null,null,"水栓",null,"TK605FR",null,1,"組"]
[9]
[10,null,null,null,"器具取付費",null,null,null,1,"式"]
[11]
[12,null,null,null,"計"]
[13]
[14]
[15]
[16,null,"４",null,"屋内給水設備"]
[17]
[18,null,null,"(1)上水給水設備"]
[19]
[20,null,null,null,"ｽﾃﾝﾚｽ鋼鋼管",null,"屋内一般","20su",5,"ｍ"]
[21]
[22,null,null,null,"保温・塗装",null,null,null,1,"式"]
[23]
[24,null,null,null,"はつり工事",null,null,null,1,"式"]
[25]
[26,null,null,null,"計"]
[27]
[28]
[29]
[30,null,"５",null,"屋内排水設備"]
[31]
[32,null,null,"(1)排水設備"]
[33,null,null,null,"排水",null,"VP"]
[34,null,null,null,"耐火二層管",null,"屋内一般","40A",1,"ｍ"]
[35,null,null,null,"排水",null,"VP"]
[36,null,null,null,"耐火二層管",null,"屋内一般","50A",1,"ｍ"]
[37]
[38,null,null,null,"排水金物",null,null,null,1,"式"]
[39]
[40,null,null,null,"既設管切断・接続",null,null,null,1,"式"]
[41]
[42,null,null,null,"はつり工事",null,null,null,1,"式"]
[43]
[44,null,null,null,"計"]
[45]
[46]
[47]
[48,null,"６",null,"撤去工事"]
[49]
[50,null,null,null,"機器類撤去",null,null,null,1,"式"]
[51]
[52,null,null,null,"計"]
[53]
[54]
[55]
[56,null,"７",null,"発生材処理"]
[57]
[58,null,null,null,"発生材積込",null,null,null,1,"式"]
[59]
[60,null,null,null,"発生材運搬",null,null,null,1,"式"]
[61]
[62,null,null,null,"発生材処分",null,null,null,1,"式"]
[63]
[64,null,null,null,"計"]
[65]
[{"$f":"+A139+1","v":66}]
[67]
[68]
[69]
[70]
[1]
[{"$f":"+A145+1","v":2}]
[3]
[4]
[5]
[6]
[7]
[8]
[9]
[10]
[11]
[12]
[13]
[14]
[15]
[16]
[17]
[18]
[19]
[20]
[21]
[22]
[23]
[24]
[25]
[26]
[27]
[28]
[29]
[30]
[31]
[32]
[33]
[34]
[35]
[36]
[37]
[38]
[39]
[40]
[41]
[42]
[43]
[44]
[45]
[46]
[47]
[48,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"+O192*0.5","v":0},{"$f":"+ROUNDDOWN(P192,3-LENB(FIXED(P192,0,1)))","v":0}]
[49]
[50]
[51]
[52]
[53]
[54]
[55]
[56]
[57]
[58]
[59]
[60]
[61]
[62]
[63]
[64]
[65]
[{"$f":"+A209+1","v":66}]
[67]
[68]
[69]
[70]
[1]
[{"$f":"+A215+1","v":2}]
[3]
[4]
[5]
[6]
[7]
[8]
[9]
[10]
[11]
[12]
[13]
[14]
[15]
[16]
[17]
[18]
[19]
[20]
[21]
[22]
[23]
[24]
[25]
[26]
[27]
[28]
[29]
[30]
[31]
[32]
[33]
[34]
[35]
[36]
[37]
[38]
[39]
[40]
[41]
[42]
[43]
[44]
[45]
[46,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"+O260*0.5","v":0},{"$f":"+ROUNDDOWN(P260,3-LENB(FIXED(P260,0,1)))","v":0}]
[47]
[48]
[49]
[50]
[51]
[52]
[53]
[54]
[55]
[56]
[57]
[58]
[59]
[60]
[61]
[62]
[63]
[64]
[65]
[{"$f":"+A279+1","v":66}]
[67]
[68]
[69]
[70]

{"sheet":"細目_CⅢ","index":3,"n_rows":295,"n_cols":13,"rows_kept":295,"cut":false,"hidden":false,"merged":[[2,12,3,12],[2,1,3,4],[2,5,3,7],[2,8,3,8],[2,9,3,9],[2,10,3,10],[2,11,3,11]]}
[null,null,"細　目　別　内　訳"]
[]
[null,"名　　　　　称",null,null,null,"規格 形状 寸法",null,null,"数 量","単位","単  価","金    額","備      考"]
[]
[1]
[{"$f":"+A5+1","v":2},null,"Ⅲ　福利施設棟改修（第二工区）補助金対象"]
[3]
[4,null,"１",null,"空気調和設備"]
[5]
[6,null,null,"(1)機器設備"]
[7,null,null,null,"RAC-1-7.1"]
[8,null,null,null,"ﾙｰﾑｴｱｺﾝ用室外機",null,"壁掛け形",null,4,"台"]
[9,null,null,null,"RAC-1-K-7.1"]
[10,null,null,null,"ﾙｰﾑｴｱｺﾝ用室内機",null,"冷房能力　7.1kW"]
[11,null,null,null,"ｲﾝﾊﾞｰﾀｰﾀｲﾌﾟ"]
[12,null,null,null,null,null,"暖房能力　8.5kW"]
[13]
[14,null,null,null,null,null,"付属品　一式共"]
[15,null,null,null,"RAC-2-4.0"]
[16,null,null,null,"ﾙｰﾑｴｱｺﾝ用室外機",null,"壁掛け形",null,3,"台"]
[17,null,null,null,"RAC-2-K-4.0"]
[18,null,null,null,"ﾙｰﾑｴｱｺﾝ用室内機",null,"冷房能力　4.0kW"]
[19,null,null,null,"ｲﾝﾊﾞｰﾀｰﾀｲﾌﾟ"]
[20,null,null,null,null,null,"暖房能力　5.0kW"]
[21]
[22,null,null,null,null,null,"付属品　一式共"]
[23]
[24,null,null,null,"機器搬入据付費",null,null,null,1,"式"]
[25]
[26,null,null,null,"計"]
[27]
[28]
[29]
[30,null,null,"(2)配管設備"]
[31]
[32,null,null,null,"冷媒用被覆銅管(液管）",null," 6.4φ",null,84,"ｍ"]
[33]
[34,null,null,null,"冷媒用被覆銅管(ｶﾞｽ管）",null," 9.5φ",null,52,"ｍ"]
[35]
[36,null,null,null,"冷媒用被覆銅管(ｶﾞｽ管）",null,"12.7φ",null,32,"ｍ"]
[37,null,null,null,"ﾄﾞﾚﾝ　",null,"VP"]
[38,null,null,null,"硬質ﾎﾟﾘ塩化ﾋﾞﾆﾙ管",null,"屋外","50A",25,"ｍ"]
[39]
[40,null,null,null,"Cﾄﾗｯﾌﾟ",null,null,null,1,"式"]
[41]
[42,null,null,null,"連絡線工事",null,null,null,1,"式"]
[43]
[44,null,null,null,"保温・塗装",null,null,null,1,"式"]
[45]
[46,null,null,null,"はつり工事",null,null,null,1,"式"]
[47]
[48,null,null,null,"形鋼振止支持",null,null,null,1,"式"]
[49]
[50,null,null,null,"計"]
[51]
[52]
[53]
[54,null,"２　換気設備"]
[55]
[56,null,null,"(1)機器設備"]
[57]
[58,null,null,"(1)機器設備"]
[59,null,null,null,"HX-C-20"]
[60,null,null,null,"全熱交換器",null,"天井ｶｾｯﾄ型",null,3,"台"]
[61]
[62,null,null,null,null,null,"200m3/h x 130Pa"]
[63,null,null,null,"HX-C-25"]
[64,null,null,null,"全熱交換器",null,"天井ｶｾｯﾄ型",null,2,"台"]
[65]
[{"$f":"+A69+1","v":66},null,null,null,null,null,"250m3/h x 150Pa"]
[67,null,null,null,"HX-C-35"]
[68,null,null,null,"全熱交換器",null,"天井ｶｾｯﾄ型",null,2,"台"]
[69]
[70,null,null,null,null,null,"350m3/h x 150Pa"]
[1,null,null,null,"EF-SS-25"]
[{"$f":"+A75+1","v":2},null,null,null,"排風機",null,"消音ｽﾄﾚｰﾄｼﾛｯｺﾌｧﾝ（人感ｾﾝｻｰ）",null,2,"台"]
[3]
[4,null,null,null,null,null,"250m3/h x 150Pa"]
[5]
[6,null,null,null,"機器搬入据付費",null,null,null,1,"式"]
[7]
[8,null,null,null,"計"]
[9]
[10]
[11]
[12,null,null,"(2)ﾀﾞｸﾄ設備"]
[13]
[14,null,null,null,"矩形ﾀﾞｸﾄ",null,"0.5㎜","亜鉛鉄板",9,"㎡"]
[15,null,null,null,null,null,"亜鉛鉄板"]
[16,null,null,null,"ｽﾊﾟｲﾗﾙﾀﾞｸﾄ",null,"低圧","150φ",103,"m"]
[17,null,null,null,null,null,"亜鉛鉄板"]
[18,null,null,null,"ｽﾊﾟｲﾗﾙﾀﾞｸﾄ",null,"低圧","200φ",11,"m"]
[19]
[20,null,null,null,"ﾁｬﾝﾊﾞｰﾎﾞｯｸｽ類",null,null,null,1,"式"]
[21]
[22,null,null,null,"制気口類",null,"ﾍﾞﾝﾄｷｬｯﾌﾟ含む",null,1,"式"]
[23]
[24,null,null,null,"ﾀﾞﾝﾊﾟｰ類",null,null,null,1,"式"]
[25]
[26,null,null,null,"保温・塗装",null,null,null,1,"式"]
[27]
[28,null,null,null,"計"]
[29]
[30]
[31]
[32,null,null,"(3)総合調整"]
[33]
[34,null,null,null,"総合調整費",null,null,null,1,"式"]
[35]
[36,null,null,null,"計"]
[37]
[38]
[39]
[40,null,"３",null,"自動制御設備"]
[41]
[42,null,null,"(1)自動制御設備"]
[43]
[44,null,null,null,"自動制御機器",null,null,null,1,"式"]
[45]
[46,null,null,null,"計装工事",null,null,null,1,"式"]
[47]
[48,null,null,null,"諸経費",null,null,null,1,"式"]
[49]
[50,null,null,null,"計"]
[51]
[52]
[53]
[54,null,"４",null,"屋内給水設備"]
[55]
[56,null,null,"(1)上水給水設備"]
[57]
[58,null,null,null,"ｽﾃﾝﾚｽ鋼鋼管",null,"屋内一般","25su",34,"ｍ"]
[59]
[60,null,null,null,"ﾊﾞﾙﾌﾞ・ﾌﾚｷ類",null,null,null,1,"式"]
[61]
[62,null,null,null,"保温・塗装",null,null,null,1,"式"]
[63]
[64,null,null,null,"既設管切断・接続",null,null,null,1,"式"]
[65]
[{"$f":"+A139+1","v":66},null,null,null,"はつり工事",null,null,null,1,"式"]
[67]
[68,null,null,null,"形鋼振止支持",null,null,null,1,"式"]
[69]
[70,null,null,null,"計"]
[1]
[{"$f":"+A145+1","v":2}]
[3]
[4,null,"５",null,"消火設備"]
[5]
[6,null,null,"(1)屋内消火栓設備"]
[7,null,null,null,"HB-1A"]
[8,null,null,null,"屋内消火栓箱",null,"易操作性1号消火栓(埋込形)",null,1,"台"]
[9]
[10,null,null,null,"屋内消火栓箱取外・再取付",null,null,null,1,"台"]
[11]
[12,null,null,null,"配管用炭素鋼鋼管（白）",null,"屋内一般","50A",18,"ｍ"]
[13]
[14,null,null,null,"形鋼振止支持",null,null,null,1,"式"]
[15]
[16,null,null,null,"計"]
[17]
[18]
[19]
[20,null,"６",null,"撤去工事"]
[21]
[22,null,null,null,"機器類撤去",null,null,null,1,"式"]
[23]
[24,null,null,null,"計"]
[25]
[26]
[27]
[28,null,"７",null,"発生材処理"]
[29]
[30,null,null,null,"発生材積込",null,null,null,1,"式"]
[31]
[32,null,null,null,"発生材運搬",null,null,null,1,"式"]
[33]
[34,null,null,null,"発生材処分",null,null,null,1,"式"]
[35]
[36,null,null,null,"計"]
[37]
[38]
[39]
[40]
[41]
[42]
[43]
[44]
[45]
[46]
[47]
[48]
[49]
[50]
[51]
[52]
[53]
[54]
[55]
[56]
[57]
[58]
[59]
[60]
[61]
[62]
[63]
[64]
[65]
[{"$f":"+A209+1","v":66}]
[67]
[68]
[69]
[70]
[1]
[{"$f":"+A215+1","v":2}]
[3]
[4]
[5]
[6]
[7]
[8]
[9]
[10]
[11]
[12]
[13]
[14]
[15]
[16]
[17]
[18]
[19]
[20]
[21]
[22]
[23]
[24]
[25]
[26]
[27]
[28]
[29]
[30]
[31]
[32]
[33]
[34]
[35]
[36]
[37]
[38]
[39]
[40]
[41]
[42]
[43]
[44]
[45]
[46]
[47]
[48]
[49]
[50]
[51]
[52]
[53]
[54]
[55]
[56]
[57]
[58]
[59]
[{"$f":"+A273+1","v":60}]
[61]
[62]
[63]
[64]
[65]
[66]
[67]
[68]
[69]
[70]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,{"$f":"SUM(L5:L210)/2","v":0}]

{"sheet":"細目_CⅣ","index":4,"n_rows":284,"n_cols":17,"rows_kept":284,"cut":false,"hidden":false,"merged":[[2,12,3,12],[2,1,3,4],[2,5,3,7],[2,8,3,8],[2,9,3,9],[2,10,3,10],[2,11,3,11]]}
[null,null,"細　目　別　内　訳"]
[]
[null,"名　　　　　称",null,null,null,"規格 形状 寸法",null,null,"数 量","単位","単  価","金    額","備      考"]
[]
[1]
[{"$f":"+A5+1","v":2},null,"Ⅳ　福利施設棟改修（第二工区）補助金対象外"]
[3]
[4,null,"１",null,"空気調和設備"]
[5]
[6,null,null,"(1)機器設備"]
[7]
[8,null,null,null,"機器搬入据付費",null,"既設機器再取付",null,1,"式"]
[9]
[10,null,null,null,"動力設備",null,null,null,1,"式"]
[11]
[12,null,null,null,"計"]
[13]
[14]
[15]
[16,null,null,"(2)配管設備"]
[17]
[18,null,null,null,"冷媒用被覆銅管(液管）",null," 9.5φ",null,9,"ｍ"]
[19]
[20,null,null,null,"冷媒用被覆銅管(ｶﾞｽ管）",null,"15.9φ",null,9,"ｍ"]
[21,null,null,null,"ﾄﾞﾚﾝ　",null,"VP"]
[22,null,null,null,"耐火二層管",null,"屋内一般","40A",3,"ｍ"]
[23,null,null,null,"ﾄﾞﾚﾝ　",null,"VP"]
[24,null,null,null,"硬質ﾎﾟﾘ塩化ﾋﾞﾆﾙ管",null,"屋外","50A",17,"ｍ"]
[25]
[26,null,null,null,"Cﾄﾗｯﾌﾟ",null,null,null,1,"式"]
[27]
[28,null,null,null,"連絡線工事",null,null,null,1,"式"]
[29]
[30,null,null,null,"保温・塗装",null,null,null,1,"式"]
[31]
[32,null,null,null,"計"]
[33]
[34]
[35]
[36,null,"２　換気設備"]
[37]
[38,null,null,"(1)機器設備"]
[39,null,null,null,"EF-SS-25"]
[40,null,null,null,"排風機",null,"消音ｽﾄﾚｰﾄｼﾛｯｺﾌｧﾝ",null,2,"台"]
[41]
[42,null,null,null,null,null,"250m3/h x 150Pa"]
[43,null,null,null,"EF-SS-25"]
[44,null,null,null,"排風機",null,"消音ｽﾄﾚｰﾄｼﾛｯｺﾌｧﾝ（人感ｾﾝｻｰ）",null,4,"台"]
[45]
[46,null,null,null,null,null,"250m3/h x 150Pa"]
[47]
[48,null,null,null,"機器搬入据付費",null,null,null,1,"式"]
[49]
[50,null,null,null,"計"]
[51]
[52]
[53]
[54,null,null,"(2)ﾀﾞｸﾄ設備"]
[55]
[56,null,null,null,"矩形ﾀﾞｸﾄ",null,"0.5㎜","亜鉛鉄板",21,"㎡"]
[57,null,null,null,null,null,"亜鉛鉄板"]
[58,null,null,null,"ｽﾊﾟｲﾗﾙﾀﾞｸﾄ",null,"低圧","150φ",21,"m"]
[59,null,null,null,null,null,"亜鉛鉄板"]
[60,null,null,null,"ｽﾊﾟｲﾗﾙﾀﾞｸﾄ",null,"低圧","200φ",39,"m"]
[61]
[62,null,null,null,"ﾁｬﾝﾊﾞｰﾎﾞｯｸｽ類",null,null,null,1,"式"]
[63]
[64,null,null,null,"制気口類",null,"ﾍﾞﾝﾄｷｬｯﾌﾟ含む",null,1,"式"]
[65]
[{"$f":"+A69+1","v":66},null,null,null,"ﾀﾞﾝﾊﾟｰ類",null,null,null,1,"式"]
[67]
[68,null,null,null,"保温・塗装",null,null,null,1,"式"]
[69]
[70,null,null,null,"計"]
[1]
[{"$f":"+A75+1","v":2}]
[3]
[4,null,null,"(3)総合調整"]
[5]
[6,null,null,null,"総合調整費",null,null,null,1,"式"]
[7]
[8,null,null,null,"計"]
[9]
[10]
[11]
[12,null,"３",null,"撤去工事"]
[13]
[14,null,null,null,"機器類撤去",null,null,null,1,"式"]
[15]
[16,null,null,null,"計"]
[17]
[18]
[19]
[20,null,"４",null,"発生材処理"]
[21]
[22,null,null,null,"発生材積込",null,null,null,1,"式"]
[23]
[24,null,null,null,"発生材運搬",null,null,null,1,"式"]
[25]
[26,null,null,null,"発生材処分",null,null,null,1,"式"]
[27]
[28,null,null,null,"計"]
[29]
[30]
[31]
[32]
[33]
[34]
[35]
[36]
[37]
[38]
[39]
[40]
[41]
[42]
[43]
[44]
[45]
[46]
[47]
[48]
[49]
[50]
[51]
[52]
[53]
[54]
[55]
[56]
[57]
[58]
[59]
[60]
[61]
[62]
[63]
[64]
[65]
[{"$f":"+A139+1","v":66}]
[67]
[68]
[69]
[70]
[1]
[{"$f":"+A145+1","v":2}]
[3]
[4]
[5]
[6]
[7]
[8]
[9]
[10]
[11]
[12]
[13]
[14]
[15]
[16]
[17]
[18]
[19]
[20]
[21]
[22]
[23]
[24]
[25]
[26]
[27]
[28]
[29]
[30]
[31]
[32]
[33]
[34]
[35]
[36]
[37]
[38]
[39]
[40]
[41]
[42]
[43]
[44]
[45]
[46]
[47]
[48]
[49]
[50,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"+O194*0.5","v":0},{"$f":"+ROUNDDOWN(P194,3-LENB(FIXED(P194,0,1)))","v":0}]
[51]
[52]
[53]
[54]
[55]
[56]
[57]
[58]
[59]
[60]
[61]
[62]
[63]
[64]
[65]
[{"$f":"+A209+1","v":66}]
[67]
[68]
[69]
[70]
[1]
[2]
[3]
[4]
[5]
[6]
[7]
[8]
[9]
[10]
[11]
[12]
[13]
[14]
[15]
[16]
[17]
[18]
[19]
[20]
[21]
[22]
[23]
[24]
[25]
[26]
[27]
[28]
[29]
[30]
[31]
[32]
[33]
[34]
[35]
[36]
[37]
[38]
[39]
[40]
[41]
[42]
[43]
[44]
[45]
[46]
[47]
[48]
[49]
[50]
[51]
[52]
[53]
[54]
[55]
[56]
[57]
[58]
[59]
[{"$f":"+A273+1","v":60}]
[61]
[62]
[63]
[64]
[65]
[66]
[67]
[68]
[69]
[70]

{"sheet":"細目_DⅤ","index":5,"n_rows":435,"n_cols":17,"rows_kept":435,"cut":false,"hidden":false,"merged":[[2,12,3,12],[2,1,3,4],[2,5,3,7],[2,8,3,8],[2,9,3,9],[2,10,3,10],[2,11,3,11]]}
[null,null,"細　目　別　内　訳"]
[]
[null,"名　　　　　称",null,null,null,"規格 形状 寸法",null,null,"数 量","単位","単  価","金    額","備      考"]
[]
[1]
[{"$f":"+A5+1","v":2},null,"Ⅴ　附属図書館改修増築（第三工区）"]
[3]
[4,null,"１",null,"空気調和設備"]
[5]
[6,null,null,"(1)機器設備"]
[7,null,null,null,"MAC-2-67.0"]
[8,null,null,null,"ﾋﾞﾙ用ﾏﾙﾁ型室外機",null,"冷暖切換型　高効率ﾓﾃﾞﾙ",null,1,"台"]
[9]
[10,null,null,null,null,null,"冷房能力　67.0kW"]
[11]
[12,null,null,null,null,null,"暖房能力　77.5kW"]
[13]
[14,null,null,null,null,null,"付属品　一式共"]
[15,null,null,null,"MAC-21-C4-7.1"]
[16,null,null,null,"ﾋﾞﾙ用ﾏﾙﾁ室内機",null,"天井ｶｾｯﾄ形（4方向）人感ｾﾝｻｰ",null,6,"台"]
[17]
[18,null,null,null,null,null,"冷房能力　7.1kW"]
[19]
[20,null,null,null,null,null,"暖房能力　8.0kW"]
[21]
[22,null,null,null,null,null,"付属品　一式共"]
[23,null,null,null,"MAC-22-C4-11.2"]
[24,null,null,null,"ﾋﾞﾙ用ﾏﾙﾁ室内機",null,"天井ｶｾｯﾄ形（4方向）人感ｾﾝｻｰ",null,2,"台"]
[25]
[26,null,null,null,null,null,"冷房能力　11.2kW"]
[27]
[28,null,null,null,null,null,"暖房能力　12.5kW"]
[29]
[30,null,null,null,null,null,"付属品　一式共"]
[31,null,null,null,"MAC-5-28.0"]
[32,null,null,null,"ﾋﾞﾙ用ﾏﾙﾁ型室外機",null,"冷暖切換型　高効率ﾓﾃﾞﾙ",null,1,"台"]
[33]
[34,null,null,null,null,null,"冷房能力　28.0kW"]
[35]
[36,null,null,null,null,null,"暖房能力　31.5kW"]
[37]
[38,null,null,null,null,null,"付属品　一式共"]
[39,null,null,null,"MAC-51-C4-7.1"]
[40,null,null,null,"ﾋﾞﾙ用ﾏﾙﾁ室内機",null,"天井ｶｾｯﾄ形（4方向）人感ｾﾝｻｰ",null,4,"台"]
[41]
[42,null,null,null,null,null,"冷房能力　7.1kW"]
[43]
[44,null,null,null,null,null,"暖房能力　8.0kW"]
[45]
[46,null,null,null,null,null,"付属品　一式共"]
[47]
[48,null,null,null,"機器搬入据付費",null,null,null,1,"式"]
[49]
[50,null,null,null,"計"]
[51]
[52]
[53]
[54,null,null,"(2)ﾀﾞｸﾄ設備"]
[55,null,null,null,null,null,"亜鉛鉄板"]
[56,null,null,null,"ｽﾊﾟｲﾗﾙﾀﾞｸﾄ",null,"低圧","200φ",5,"m"]
[57]
[58,null,null,null,"ﾁｬﾝﾊﾞｰﾎﾞｯｸｽ類",null,null,null,1,"式"]
[59]
[60,null,null,null,"制気口類",null,"ﾍﾞﾝﾄｷｬｯﾌﾟ含む",null,1,"式"]
[61]
[62,null,null,null,"保温・塗装",null,null,null,1,"式"]
[63]
[64,null,null,null,"計"]
[65]
[{"$f":"+A69+1","v":66}]
[67]
[68,null,null,"(3)配管設備"]
[69]
[70,null,null,null,"冷媒用被覆銅管(液管）",null," 9.5φ",null,116,"ｍ"]
[1]
[{"$f":"+A75+1","v":2},null,null,null,"冷媒用被覆銅管(液管）",null,"12.7φ",null,3,"ｍ"]
[3]
[4,null,null,null,"冷媒用被覆銅管(液管）",null,"15.9φ",null,34,"ｍ"]
[5]
[6,null,null,null,"冷媒用被覆銅管(ｶﾞｽ管）",null,"15.9φ",null,53,"ｍ"]
[7]
[8,null,null,null,"冷媒用被覆銅管(ｶﾞｽ管）",null,"19.1φ",null,5,"ｍ"]
[9]
[10,null,null,null,"冷媒用被覆銅管(ｶﾞｽ管）",null,"22.2φ",null,58,"ｍ"]
[11]
[12,null,null,null,"冷媒用被覆銅管(ｶﾞｽ管）",null,"25.4φ",null,3,"ｍ"]
[13]
[14,null,null,null,"冷媒用被覆銅管(ｶﾞｽ管）",null,"28.6φ",null,34,"ｍ"]
[15,null,null,null,"ﾄﾞﾚﾝ　",null,"VP"]
[16,null,null,null,"耐火二層管",null,"屋内一般","40A",58,"ｍ"]
[17,null,null,null,"ﾄﾞﾚﾝ　",null,"VP"]
[18,null,null,null,"硬質ﾎﾟﾘ塩化ﾋﾞﾆﾙ管",null,"屋外","50A",8,"ｍ"]
[19]
[20,null,null,null,"ﾊﾞﾙﾌﾞ・ﾌﾚｷ類",null,null,null,1,"式"]
[21]
[22,null,null,null,"Cﾄﾗｯﾌﾟ",null,null,null,1,"式"]
[23]
[24,null,null,null,"連絡線工事",null,null,null,1,"式"]
[25]
[26,null,null,null,"保温・塗装",null,null,null,1,"式"]
[27]
[28,null,null,null,"配管架台",null,null,null,1,"式"]
[29]
[30,null,null,null,"形鋼振止支持",null,null,null,1,"式"]
[31]
[32,null,null,null,"計"]
[33]
[34]
[35]
[36,null,null,"(4)総合調整"]
[37]
[38,null,null,null,"総合調整費",null,null,null,1,"式"]
[39]
[40,null,null,null,"計"]
[41]
[42]
[43]
[44,null,"２　換気設備"]
[45]
[46,null,null,"(1)機器設備"]
[47,null,null,null,"HX-D-50"]
[48,null,null,null,"全熱交換器",null,"天井埋込形",null,2,"台"]
[49]
[50,null,null,null,null,null,"500m3/h x 150Pa"]
[51,null,null,null,"AK-38"]
[52,null,null,null,"ｴｱｰ搬送ﾌｧﾝ",null,"低騒音　ｲﾝﾃﾘｱﾀｲﾌﾟ",null,8,"台"]
[53]
[54,null,null,null,null,null,"380m3/h"]
[55]
[56,null,null,null,"機器搬入据付費",null,null,null,1,"式"]
[57]
[58,null,null,null,"計"]
[59]
[60]
[61]
[62,null,null,"(2)ﾀﾞｸﾄ設備"]
[63,null,null,null,null,null,"亜鉛鉄板"]
[64,null,null,null,"ｽﾊﾟｲﾗﾙﾀﾞｸﾄ",null,"低圧","200φ",73,"m"]
[65]
[{"$f":"+A139+1","v":66},null,null,null,"ﾁｬﾝﾊﾞｰﾎﾞｯｸｽ類",null,null,null,1,"式"]
[67]
[68,null,null,null,"制気口類",null,"ﾍﾞﾝﾄｷｬｯﾌﾟ含む",null,1,"式"]
[69]
[70,null,null,null,"ﾀﾞﾝﾊﾟｰ類",null,null,null,1,"式"]
[1]
[{"$f":"+A145+1","v":2},null,null,null,"保温・塗装",null,null,null,1,"式"]
[3]
[4,null,null,null,"計"]
[5]
[6]
[7]
[8,null,"３",null,"自動制御設備"]
[9]
[10,null,null,"(1)自動制御設備"]
[11]
[12,null,null,null,"計装工事",null,null,null,1,"式"]
[13]
[14,null,null,null,"諸経費",null,null,null,1,"式"]
[15]
[16,null,null,null,"計"]
[17]
[18]
[19]
[20,null,"４",null,"　衛生器具設備"]
[21]
[22,null,null,"(1)衛生器具設備"]
[23,null,null,null,"S-3"]
[24,null,null,null,"散水栓",null,"T28KUNH13",null,1,"組"]
[25]
[26,null,null,null,"散水栓ﾎﾞｯｸｽ",null,"ｽﾃﾝﾚｽ",null,1,"組"]
[27]
[28,null,null,null,"器具取付費",null,null,null,1,"式"]
[29]
[30,null,null,null,"計"]
[31]
[32]
[33]
[34,null,"５",null,"屋外給水設備"]
[35]
[36,null,null,"(1)雑用水給水設備"]
[37]
[38,null,null,null,"水道用耐震型高性能ﾎﾟﾘｴﾁﾚﾝ管",null,"地中","20A",2,"ｍ"]
[39]
[40,null,null,null,"水道用耐震型高性能ﾎﾟﾘｴﾁﾚﾝ管",null,"地中","25A",1,"ｍ"]
[41]
[42,null,null,null,"ﾊﾞﾙﾌﾞ類",null,null,null,1,"式"]
[43]
[44,null,null,null,"弁桝",null,null,null,1,"式"]
[45]
[46,null,null,null,"埋設配管表示",null,null,null,1,"式"]
[47]
[48,null,null,null,"埋設テープ",null,null,null,1,"式"]
[49]
[50,null,null,null,"土工事",null,null,null,1,"式"]
[51]
[52,null,null,null,"計"]
[53]
[54]
[55]
[56,null,"６",null,"屋内給水設備"]
[57]
[58,null,null,"(1)雑用水給水設備"]
[59]
[60,null,null,null,"水道用耐震型高性能ﾎﾟﾘｴﾁﾚﾝ管",null,"屋内一般","25A",13,"ｍ"]
[61]
[62,null,null,null,"既設管切断・接続",null,null,null,1,"式"]
[63]
[64,null,null,null,"ｽﾘｰﾌﾞ",null,null,null,1,"式"]
[65]
[{"$f":"+A209+1","v":66},null,null,null,"土工事",null,null,null,1,"式"]
[67]
[68,null,null,null,"計"]
[69]
[70]
[1]
[{"$f":"+A215+1","v":2},null,"７",null,"屋外排水設備"]
[3]
[4,null,null,"(1)排水設備"]
[5,null,null,null,null,null,"VP"]
[6,null,null,null,"硬質ﾎﾟﾘ塩化ﾋﾞﾆﾙ管",null,"地中","150A",19,"ｍ"]
[7]
[8,null,null,null,"桝類",null,null,null,1,"式"]
[9]
[10,null,null,null,"既設管切断・接続",null,null,null,1,"式"]
[11]
[12,null,null,null,"土工事",null,null,null,1,"式"]
[13]
[14,null,null,null,"計"]
[15]
[16]
[17]
[18,null,"８",null,"屋内排水設備"]
[19]
[20,null,null,"(1)排水設備"]
[21,null,null,null,"排水",null,"VP"]
[22,null,null,null,"硬質ﾎﾟﾘ塩化ﾋﾞﾆﾙ管",null,"屋内一般","65A",1,"ｍ"]
[23,null,null,null,"排水",null,"VP"]
[24,null,null,null,"硬質ﾎﾟﾘ塩化ﾋﾞﾆﾙ管",null,"屋内一般","100A",3,"ｍ"]
[25,null,null,null,"排水",null,"VP"]
[26,null,null,null,"硬質ﾎﾟﾘ塩化ﾋﾞﾆﾙ管",null,"屋内一般","150A",23,"ｍ"]
[27]
[28,null,null,null,"桝類",null,null,null,1,"式"]
[29]
[30,null,null,null,"既設管切断・接続"]
[31]
[32,null,null,null,"ｽﾘｰﾌﾞ",null,null,null,1,"式"]
[33]
[34,null,null,null,"土工事",null,null,null,1,"式"]
[35]
[36,null,null,null,"計"]
[37]
[38]
[39]
[40]
[41]
[42]
[43]
[44]
[45]
[46]
[47]
[48]
[49]
[50]
[51]
[52]
[53]
[54]
[55]
[56]
[57]
[58]
[59]
[60]
[61]
[62]
[63]
[64]
[65]
[{"$f":"+A279+1","v":66}]
[67]
[68]
[69]
[70]
[1]
[{"$f":"+A285+1","v":2}]
[3]
[4]
[5]
[6]
[7]
[8]
[9]
[10]
[11]
[12]
[13]
[14]
[15]
[16]
[17]
[18]
[19]
[20]
[21]
[22]
[23]
[24]
[25]
[26]
[27]
[28]
[29]
[30]
[31]
[32]
[33]
[34,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"+O318*0.5","v":0},{"$f":"+ROUNDDOWN(P318,3-LENB(FIXED(P318,0,1)))","v":0}]
[35]
[36]
[37]
[38]
[39]
[40]
[41]
[42]
[43]
[44]
[45]
[46]
[47]
[48]
[49]
[50]
[51]
[52]
[53]
[54]
[55]
[56]
[57]
[58]
[59]
[60]
[61]
[62]
[63]
[64]
[65]
[{"$f":"+A349+1","v":66}]
[67]
[68]
[69]
[70]
[1]
[{"$f":"+A355+1","v":2}]
[3]
[4]
[5]
[6]
[7]
[8]
[9]
[10]
[11]
[12]
[13]
[14]
[15]
[16]
[17]
[18]
[19]
[20]
[21]
[22]
[23]
[24]
[25]
[26]
[27]
[28]
[29]
[30]
[31]
[32]
[33]
[34]
[35]
[36]
[37]
[38]
[39]
[40]
[41]
[42]
[43]
[44]
[45]
[46]
[47]
[48]
[49]
[50]
[51]
[52]
[53]
[54]
[55]
[56,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"+O410*0.5","v":0},{"$f":"+ROUNDDOWN(P410,3-LENB(FIXED(P410,0,1)))","v":0}]
[57]
[58]
[59]
[60]
[61]
[62]
[63]
[64]
[65]
[{"$f":"+A419+1","v":66}]
[67]
[68]
[69]
[70]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,{"$f":"SUM(L5:L424)/2","v":0}]

{"sheet":"別紙細目","index":6,"n_rows":704,"n_cols":13,"rows_kept":704,"cut":false,"hidden":true,"merged":[[2,1,3,4],[2,5,3,7],[2,8,3,8],[2,9,3,9],[2,10,3,10],[2,11,3,11],[2,12,3,12],[38,6,39,7],[40,6,41,7],[44,6,45,7],[10,6,10,7],[36,6,36,7],[48,6,49,7],[50,6,51,7],[56,6,57,7],[78,6,79,7],[84,6,85,7],[76,6,76,7],[102,6,102,7],[120,6,120,7],[122,6,122,7],[228,6,228,7],[230,6,230,7],[186,6,186,7],[188,6,188,7],[190,6,190,7],[192,6,192,7],[196,6,196,7],[198,6,198,7],[142,6,142,7],[166,6,166,7],[168,6,168,7],[184,6,184,7],[152,6,152,7],[232,6,232,7],[126,6,126,7],[156,6,156,7],[164,6,164,7],[174,6,174,7],[182,6,182,7],[200,6,200,7],[204,6,204,7],[208,6,208,7],[210,6,210,7],[308,6,308,7],[424,6,424,7],[466,6,466,7],[472,6,472,7],[484,6,484,7],[486,6,486,7],[544,6,545,7],[548,6,549,7],[518,6,518,7],[550,6,551,7],[542,6,542,7],[582,6,582,7],[584,6,584,7],[586,6,586,7],[588,6,588,7],[590,6,590,7],[622,6,622,7],[594,6,594,7],[614,6,614,7],[12,6,13,7],[24,6,25,7],[160,6,160,7],[170,6,170,7],[178,6,178,7],[592,6,592,7],[604,6,604,7],[562,6,562,7],[606,6,606,7],[616,6,616,7],[618,6,618,7],[620,6,620,7],[580,6,580,7]]}
[null,null,"細　目　別　内　訳"]
[]
[null,"名　　　　　称",null,null,null,"規格 形状 寸法",null,null,"数 量","単位","単  価","金    額","備      考"]
["P"]
[1]
[2,"別紙明細",null,null,null,null,null,null,null,null,0,0]
[3]
[4,null,null,null,null,null,null,null,null,null,null,0]
[5]
[6,null,null,null,null,null,null,null,null,null,null,0]
[7]
[8]
[9]
[10,null,null,null,null,null,null,null,null,null,null,{"$f":"I14*K14","v":0}]
[11]
[12]
[13]
[14]
[15]
[16]
[17]
[18]
[19]
[20]
[21]
[22]
[23]
[24]
[25]
[26]
[27]
[28]
[29]
[30]
[31,null,null,null,null,null,null,null,null,null,null,{"$f":"I35*K35","v":0}]
[32]
[33]
[34]
[35]
[36,null,null,null,null,null,null,null,null,null,null,{"$f":"I40*K40","v":0}]
[37]
[38,null,null,null,null,null,null,null,null,null,null,{"$f":"I42*K42","v":0}]
[39]
[40,null,null,null,null,null,null,null,null,null,null,{"$f":"I44*K44","v":0}]
[41,null,null,null,null,null,null,null,null,null,null,0]
[42,null,null,null,null,null,null,null,null,null,null,0]
[43,null,null,null,null,null,null,null,null,null,null,0]
[44,null,null,null,null,null,null,null,null,null,null,0]
[45,null,null,null,null,null,null,null,null,null,null,0]
[46,null,null,null,null,null,null,null,null,null,null,0]
[47]
[48]
[49]
[50,null,null,null,null,null,null,null,null,null,null,{"$f":"I54*K54","v":0}]
[51]
[52]
[53]
[54]
[55]
[56]
[57]
[58]
[59,null,null,null,null,null,null,null,null,null,null,{"$f":"I63*K63","v":0}]
[60]
[61]
[62]
[63]
[64]
[65]
[66]
[67]
[68]
[69]
[70]
[1,null,null,null,null,null,null,null,null,null,null,{"$f":"I75*K75","v":0}]
[2]
[3]
[4]
[5]
[6]
[7]
[8]
[9]
[10]
[11]
[12]
[13]
[14]
[15]
[16]
[17]
[18]
[19]
[20]
[21]
[22]
[23]
[24]
[25]
[26]
[27,null,null,null,null,null,null,null,null,null,null,{"$f":"I101*K101","v":0}]
[28]
[29]
[30]
[31]
[32]
[33]
[34]
[35]
[36]
[37]
[38]
[39]
[40]
[41]
[42]
[43]
[44]
[45]
[46]
[47]
[48]
[49]
[50]
[51]
[52]
[53]
[54]
[55,null,null,null,null,null,null,null,null,null,null,{"$f":"I129*K129","v":0}]
[56,null,null,null,null,null,null,null,null,null,null,{"$f":"I130*K130","v":0}]
[57,null,null,null,null,null,null,null,null,null,null,{"$f":"I131*K131","v":0}]
[58,null,null,null,null,null,null,null,null,null,null,{"$f":"I132*K132","v":0}]
[59]
[60,null,null,null,null,null,null,null,null,null,null,{"$f":"I134*K134","v":0}]
[61]
[62]
[63]
[64,null,null,null,null,null,null,null,null,null,null,{"$f":"I138*K138","v":0}]
[65]
[66]
[67]
[68]
[69,null,null,null,null,null,null,null,null,null,null,{"$f":"I143*K143","v":0}]
[70,null,null,null,null,null,null,null,null,null,null,{"$f":"I144*K144","v":0}]
[1]
[2]
[3]
[4]
[5]
[6]
[7]
[8]
[9]
[10]
[11,null,null,null,null,null,null,null,null,null,null,{"$f":"I155*K155","v":0}]
[12]
[13]
[14]
[15]
[16]
[17]
[18]
[19,null,null,null,null,null,null,null,null,null,null,{"$f":"I163*K163","v":0}]
[20]
[21]
[22]
[23,null,null,null,null,null,null,null,null,null,null,{"$f":"I167*K167","v":0}]
[24,null,null,null,null,null,null,null,null,null,null,{"$f":"I168*K168","v":0}]
[25,null,null,null,null,null,null,null,null,null,null,{"$f":"I169*K169","v":0}]
[26,null,null,null,null,null,null,null,null,null,null,{"$f":"I170*K170","v":0}]
[27]
[28]
[29,null,null,null,null,null,null,null,null,null,null,{"$f":"I173*K173","v":0}]
[30]
[31]
[32]
[33]
[34]
[35]
[36]
[37,null,null,null,null,null,null,null,null,null,null,{"$f":"I181*K181","v":0}]
[38]
[39]
[40]
[41]
[42]
[43]
[44]
[45]
[46]
[47]
[48]
[49]
[50]
[51]
[52,null,null,null,null,null,null,null,null,null,null,{"$f":"I196*K196","v":0}]
[53,null,null,null,null,null,null,null,null,null,null,0]
[54,null,null,null,null,null,null,null,null,null,null,0]
[55,null,null,null,null,null,null,null,null,null,null,0]
[56,null,null,null,null,null,null,null,null,null,null,0]
[57,null,null,null,null,null,null,null,null,null,null,0]
[58,null,null,null,null,null,null,null,null,null,null,0]
[59,null,null,null,null,null,null,null,null,null,null,0]
[60,null,null,null,null,null,null,null,null,null,null,0]
[61,null,null,null,null,null,null,null,null,null,null,0]
[62,null,null,null,null,null,null,null,null,null,null,0]
[63,null,null,null,null,null,null,null,null,null,null,0]
[64,null,null,null,null,null,null,null,null,null,null,0]
[65,null,null,null,null,null,null,null,null,null,null,0]
[66,null,null,null,null,null,null,null,null,null,null,0]
[67,null,null,null,null,null,null,null,null,null,null,0]
[68,null,null,null,null,null,null,null,null,null,null,0]
[69]
[70]
[1]
[2]
[3]
[4]
[5]
[6]
[7]
[8]
[9]
[10]
[11]
[12]
[13]
[14]
[15]
[16]
[17]
[18]
[19]
[20]
[21]
[22,null,null,null,null,null,null,null,null,null,null,{"$f":"I236*K236","v":0}]
[23]
[24]
[25]
[26]
[27]
[28,null,null,null,null,null,null,null,null,null,null,{"$f":"I242*K242","v":0}]
[29,null,null,null,null,null,null,null,null,null,null,0]
[30,null,null,null,null,null,null,null,null,null,null,0]
[31,null,null,null,null,null,null,null,null,null,null,0]
[32,null,null,null,null,null,null,null,null,null,null,0]
[33,null,null,null,null,null,null,null,null,null,null,0]
[34,null,null,null,null,null,null,null,null,null,null,0]
[35,null,null,null,null,null,null,null,null,null,null,0]
[36,null,null,null,null,null,null,null,null,null,null,0]
[37,null,null,null,null,null,null,null,null,null,null,0]
[38,null,null,null,null,null,null,null,null,null,null,0]
[39,null,null,null,null,null,null,null,null,null,null,{"$f":"I253*K253","v":0}]
[40,null,null,null,null,null,null,null,null,null,null,{"$f":"I254*K254","v":0}]
[41]
[42]
[43]
[44]
[45]
[46]
[47]
[48]
[49]
[50]
[51]
[52]
[53]
[54]
[55]
[56]
[57]
[58]
[59,null,null,null,null,null,null,null,null,null,null,{"$f":"I273*K273","v":0}]
[60,null,null,null,null,null,null,null,null,null,null,{"$f":"SUM(L245:L272)","v":0}]
[61,null,null,null,null,null,null,null,null,null,null,0]
[62,null,null,null,null,null,null,null,null,null,null,0]
[63,null,null,null,null,null,null,null,null,null,null,0]
[64,null,null,null,null,null,null,null,null,null,null,0]
[65,null,null,null,null,null,null,null,null,null,null,{"$f":"I279*K279","v":0}]
[66,null,null,null,null,null,null,null,null,null,null,{"$f":"I280*K280","v":0}]
[67,null,null,null,null,null,null,null,null,null,null,{"$f":"I281*K281","v":0}]
[68,null,null,null,null,null,null,null,null,null,null,{"$f":"SUM(L277:L280)","v":0}]
[69,null,null,null,null,null,null,null,null,null,null,{"$f":"I283*K283","v":0}]
[70,null,null,null,null,null,null,null,null,null,null,0]
[1,null,null,null,null,null,null,null,null,null,null,0]
[2,null,null,null,null,null,null,null,null,null,null,0]
[3,null,null,null,null,null,null,null,null,null,null,0]
[4,null,null,null,null,null,null,null,null,null,null,0]
[5,null,null,null,null,null,null,null,null,null,null,0]
[6,null,null,null,null,null,null,null,null,null,null,0]
[7,null,null,null,null,null,null,null,null,null,null,0]
[8,null,null,null,null,null,null,null,null,null,null,0]
[9,null,null,null,null,null,null,null,null,null,null,0]
[10,null,null,null,null,null,null,null,null,null,null,{"$f":"SUM(L285:L292)","v":0}]
[11,null,null,null,null,null,null,null,null,null,null,{"$f":"I295*K295","v":0}]
[12,null,null,null,null,null,null,null,null,null,null,0]
[13,null,null,null,null,null,null,null,null,null,null,0]
[14,null,null,null,null,null,null,null,null,null,null,0]
[15,null,null,null,null,null,null,null,null,null,null,0]
[16,null,null,null,null,null,null,null,null,null,null,0]
[17]
[18]
[19]
[20]
[21,null,null,null,null,null,null,null,null,null,null,{"$f":"I305*K305","v":0}]
[22]
[23,null,null,null,null,null,null,null,null,null,null,{"$f":"I307*K307","v":0}]
[24]
[25,null,null,null,null,null,null,null,null,null,null,{"$f":"I309*K309","v":0}]
[26,null,null,null,null,null,null,null,null,null,null,{"$f":"I310*K310","v":0}]
[27,null,null,null,null,null,null,null,null,null,null,{"$f":"I311*K311","v":0}]
[28]
[29,null,null,null,null,null,null,null,null,null,null,{"$f":"I313*K313","v":0}]
[30,null,null,null,null,null,null,null,null,null,null,{"$f":"SUM(L297:L312)","v":0}]
[31,null,null,null,null,null,null,null,null,null,null,{"$f":"I315*K315","v":0}]
[32]
[33,null,null,null,null,null,null,null,null,null,null,{"$f":"I317*K317","v":0}]
[34,null,null,null,null,null,null,null,null,null,null,{"$f":"I318*K318","v":0}]
[35,null,null,null,null,null,null,null,null,null,null,{"$f":"I319*K319","v":0}]
[36,null,null,null,null,null,null,null,null,null,null,{"$f":"SUM(L317:L318)","v":0}]
[37]
[38,null,null,null,null,null,null,null,null,null,null,{"$f":"L274+L282+L294+L314+L320","v":0}]
[39,null,null,null,null,null,null,null,null,null,null,{"$f":"I323*K323","v":0}]
[40]
[41,null,null,null,null,null,null,null,null,null,null,{"$f":"I325*K325","v":0}]
[42,null,null,null,null,null,null,null,null,null,null,{"$f":"I326*K326","v":0}]
[43]
[44]
[45]
[46]
[47]
[48,null,null,null,null,null,null,null,null,null,null,{"$f":"SUM(L327:L330)","v":0}]
[49,null,null,null,null,null,null,null,null,null,null,{"$f":"I333*K333","v":0}]
[50]
[51]
[52]
[53]
[54]
[55]
[56]
[57]
[58]
[59]
[60]
[61]
[62]
[63]
[64]
[65]
[66]
[67]
[68]
[69]
[70,null,null,null,null,null,null,null,null,null,null,{"$f":"L352","v":0}]
[1]
[2]
[3]
[4]
[5]
[6]
[7]
[8,null,null,null,null,null,null,null,null,null,null,{"$f":"L360","v":0}]
[9]
[10]
[11]
[12]
[13]
[14]
[15]
[16]
[17]
[18]
[19]
[20]
[21]
[22]
[23]
[24]
[25]
[26]
[27]
[28]
[29]
[30]
[31]
[32]
[33]
[34]
[35]
[36]
[37]
[38]
[39]
[40]
[41]
[42]
[43]
[44]
[45]
[46]
[47]
[48]
[49]
[50]
[51,null,null,null,null,null,null,null,null,null,null,{"$f":"I405*K405","v":0}]
[52,null,null,null,null,null,null,null,null,null,null,{"$f":"I406*K406","v":0}]
[53]
[54]
[55]
[56]
[57]
[58]
[59]
[60]
[61]
[62]
[63]
[64]
[65]
[66]
[67]
[68]
[69]
[70]
[1]
[2]
[3]
[4]
[5]
[6]
[7]
[8]
[9]
[10]
[11]
[12]
[13]
[14]
[15]
[16]
[17]
[18]
[19]
[20]
[21]
[22]
[23]
[24,null,null,null,null,null,null,null,null,null,null,{"$f":"SUM(L367:L446)","v":0}]
[25]
[26]
[27]
[28]
[29]
[30]
[31]
[32,null,null,null,null,null,null,null,null,null,null,{"$f":"SUM(L453:L454)","v":0}]
[33]
[34]
[35]
[36]
[37]
[38]
[39]
[40]
[41]
[42]
[43]
[44]
[45]
[46]
[47]
[48]
[49]
[50]
[51]
[52]
[53]
[54]
[55]
[56]
[57]
[58]
[59]
[60]
[61]
[62]
[63]
[64]
[65]
[66]
[67]
[68]
[69]
[70]
[1]
[2]
[3]
[4]
[5]
[6]
[7]
[8]
[9]
[10]
[11]
[12]
[13]
[14]
[15]
[16]
[17]
[18]
[19]
[20,null,null,null,null,null,null,null,null,null,null,0]
[21]
[22,null,null,null,null,null,null,null,null,null,null,0]
[23]
[24]
[25,null,null,null,null,null,null,null,null,null,null,{"$f":"I519*K519","v":0}]
[26,null,null,null,null,null,null,null,null,null,null,{"$f":"I520*K520","v":0}]
[27]
[28]
[29]
[30]
[31]
[32]
[33]
[34]
[35]
[36]
[37]
[38]
[39]
[40]
[41]
[42]
[43]
[44]
[45]
[46,null,null,null,null,null,null,null,null,null,null,{"$f":"L506+L550","v":0}]
[47]
[48]
[49]
[50]
[51,null,null,null,null,null,null,null,null,null,null,{"$f":"I545*K545","v":0}]
[52,null,null,null,null,null,null,null,null,null,null,0]
[53,null,null,null,null,null,null,null,null,null,null,0]
[54,null,null,null,null,null,null,null,null,null,null,0]
[55,null,null,null,null,null,null,null,null,null,null,0]
[56,null,null,null,null,null,null,null,null,null,null,0]
[57]
[58,null,null,null,null,null,null,null,null,null,null,{"$f":"I552*K552","v":0}]
[59]
[60]
[61,null,null,null,null,null,null,null,null,null,null,{"$f":"I555*K555","v":0}]
[62,null,null,null,null,null,null,null,null,null,null,{"$f":"I556*K556","v":0}]
[63]
[64,null,null,null,null,null,null,null,null,null,null,{"$f":"L524+L570","v":0}]
[65]
[66]
[67]
[68]
[69]
[70]
[1]
[2]
[3]
[4]
[5]
[6]
[7]
[8]
[9]
[10]
[11]
[12,null,null,null,null,null,null,null,null,null,null,{"$f":"L530+L544","v":0}]
[13]
[14]
[15]
[16,null,null,null,null,null,null,null,null,null,null,0]
[17]
[18]
[19]
[20]
[21]
[22]
[23]
[24]
[25]
[26]
[27]
[28]
[29]
[30]
[31]
[32]
[33]
[34]
[35]
[36]
[37]
[38]
[39]
[40]
[41,null,null,null,null,null,null,null,null,null,null,{"$f":"I605*K605","v":0}]
[42,null,null,null,null,null,null,null,null,null,null,{"$f":"I606*K606","v":0}]
[43,null,null,null,null,null,null,null,null,null,null,{"$f":"I607*K607","v":0}]
[44,null,null,null,null,null,null,null,null,null,null,{"$f":"I608*K608","v":0}]
[45]
[46]
[47]
[48,null,null,null,null,null,null,null,null,null,null,{"$f":"I612*K612","v":0}]
[49]
[50]
[51]
[52]
[53]
[54]
[55]
[56]
[57]
[58]
[59]
[60]
[61]
[62,null,null,null,null,null,null,null,null,null,null,{"$f":"I626*K626","v":0}]
[63]
[64]
[65]
[66]
[67]
[68]
[69]
[70]
[1]
[2]
[3]
[4]
[5]
[6]
[7]
[8]
[9]
[10]
[11]
[12]
[13]
[14]
[15,null,null,null,null,null,null,null,null,null,null,{"$f":"I649*K649","v":0}]
[16,null,null,null,null,null,null,null,null,null,null,0]
[17,null,null,null,null,null,null,null,null,null,null,0]
[18,null,null,null,null,null,null,null,null,null,null,0]
[19,null,null,null,null,null,null,null,null,null,null,0]
[20,null,null,null,null,null,null,null,null,null,null,0]
[21,null,null,null,null,null,null,null,null,null,null,0]
[22,null,null,null,null,null,null,null,null,null,null,0]
[23,null,null,null,null,null,null,null,null,null,null,0]
[24,null,null,null,null,null,null,null,null,null,null,0]
[25,null,null,null,null,null,null,null,null,null,null,{"$f":"I659*K659","v":0}]
[26,null,null,null,null,null,null,null,null,null,null,{"$f":"I660*K660","v":0}]
[27]
[28]
[29]
[30]
[31]
[32]
[33]
[34]
[35]
[36]
[37]
[38]
[39]
[40]
[41]
[42]
[43]
[44]
[45]
[46]
[47]
[48]
[49]
[50]
[51]
[52]
[53]
[54]
[55]
[56]
[57]
[58]
[59]
[60]
[61]
[62]
[63]
[64]
[65]
[66]
[67]
[68]
[69]
[70]

{"sheet":"採用単価","index":7,"n_rows":172,"n_cols":15,"rows_kept":172,"cut":false,"hidden":true,"merged":[[2,2,3,4],[45,2,46,4],[88,2,89,4],[131,2,132,4]]}
[null," 単価算出調書 【単価比較表】",null,null,null,null,null,null,null,null," No."]
[]
[null,null,{"$f":"#REF!","v":{"$error":"#REF!"}}]
[null,"工 事 名 称"]
[]
[null,null,null,"建築施工","建築コスト",null,null,null,"建築施工","建築コスト"]
[null,"品     名","規格･寸法･形式","秋","秋","採用単価","品     名","規格･寸法･形式","秋","秋","採用単価"]
[]
[null,null,null,null,null,{"$f":"IF(D9<E9,D9,E9)","v":0},null,null,null,null,{"$f":"IF(I9<J9,I9,J9)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D11<E11,D11,E11)","v":0},null,null,null,null,{"$f":"IF(I11<J11,I11,J11)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D13<E13,D13,E13)","v":0},null,null,null,null,{"$f":"IF(I13<J13,I13,J13)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D15<E15,D15,E15)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D17<E17,D17,E17)","v":0},null,null,null,null,{"$f":"IF(I17<J17,I17,J17)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D19<E19,D19,E19)","v":0},null,null,null,null,{"$f":"IF(I19<J19,I19,J19)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D21<E21,D21,E21)","v":0},null,null,null,null,{"$f":"I21","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D23<E23,D23,E23)","v":0},null,null,null,null,{"$f":"IF(I23<J23,I23,J23)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D25<E25,D25,E25)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D27<E27,D27,E27)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D29<E29,D29,E29)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D31<E31,D31,E31)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D33<E33,D33,E33)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D35<E35,D35,E35)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D37<E37,D37,E37)","v":0},null,null,null,null,{"$f":"IF(I37<J37,I37,J37)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D39<E39,D39,E39)","v":0},null,null,null,null,{"$f":"IF(I39<J39,I39,J39)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D41<E41,D41,E41)","v":0},null,null,null,null,{"$f":"IF(I41<J41,I41,J41)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D43<E43,D43,E43)","v":0},null,null,null,null,{"$f":"IF(I43<J43,I43,J43)","v":0}]
[null," 単価算出調書 【単価比較表】",null,null,null,null,null,null,null,null," No."]
[]
[null,null,{"$f":"C3","v":{"$error":"#REF!"}}]
[null,"工 事 名 称"]
[]
[null,null,null,"建築施工","建築コスト",null,null,null,"建築施工","建築コスト"]
[null,"品     名","規格･寸法･形式","秋","秋","採用単価","品     名","規格･寸法･形式","秋","秋","採用単価"]
[]
[null,null,null,null,null,{"$f":"IF(D52<E52,D52,E52)","v":0},null,null,null,null,{"$f":"IF(I52<J52,I52,J52)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D54<E54,D54,E54)","v":0},null,null,null,null,{"$f":"IF(I54<J54,I54,J54)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D56<E56,D56,E56)","v":0},null,null,null,null,{"$f":"IF(I56<J56,I56,J56)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D58<E58,D58,E58)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D60<E60,D60,E60)","v":0},null,null,null,null,{"$f":"IF(I60<J60,I60,J60)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D62<E62,D62,E62)","v":0},null,null,null,null,{"$f":"IF(I62<J62,I62,J62)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D64<E64,D64,E64)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D66<E66,D66,E66)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D68<E68,D68,E68)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D70<E70,D70,E70)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D72<E72,D72,E72)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D74<E74,D74,E74)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D76<E76,D76,E76)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D78<E78,D78,E78)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D80<E80,D80,E80)","v":0},null,null,null,null,{"$f":"IF(I80<J80,I80,J80)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D82<E82,D82,E82)","v":0},null,null,null,null,{"$f":"IF(I82<J82,I82,J82)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D84<E84,D84,E84)","v":0},null,null,null,null,{"$f":"IF(I84<J84,I84,J84)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D86<E86,D86,E86)","v":0},null,null,null,null,{"$f":"IF(I86<J86,I86,J86)","v":0}]
[null," 単価算出調書 【単価比較表】",null,null,null,null,null,null,null,null," No."]
[]
[null,null,{"$f":"C3","v":{"$error":"#REF!"}}]
[null,"工 事 名 称"]
[]
[null,null,null,"建設物価","積算資料",null,null,null,"建設物価","積算資料"]
[null,"品     名","規格･寸法･形式","2006_11","2006_11","採用単価","品     名","規格･寸法･形式","2006_11","2006_11","採用単価"]
[]
[]
[]
[null,null,null,null,null,{"$f":"IF(D97<E97,D97,E97)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D99<E99,D99,E99)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D101<E101,D101,E101)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D103<E103,D103,E103)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D105<E105,D105,E105)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D107<E107,D107,E107)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D109<E109,D109,E109)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D111<E111,D111,E111)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D113<E113,D113,E113)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D115<E115,D115,E115)","v":0}]
[]
[null,null,null,null,null,{"$f":"IF(D117<E117,D117,E117)","v":0}]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null," 単価算出調書 【単価比較表】",null,null,null,null,null,null,null,null," No."]
[]
[null,null,{"$f":"C89","v":{"$error":"#REF!"}}]
[null,"工 事 名 称"]
[]
[null,null,null,"実務ﾏﾆｭｱﾙ",null,null,null,null,"実務ﾏﾆｭｱﾙ"]
[null,"品     名","規格･寸法･形式","2006",null,"採用単価","品     名","規格･寸法･形式","2006",null,"採用単価"]
[]
[null,null,null,null,null,{"$f":"ROUND(D138+E138,-1)","v":0},null,null,null,null,{"$f":"ROUND(I138+J138,-1)","v":0}]
[]
[null,null,null,null,null,{"$f":"ROUND(D140+E140,-1)","v":0},null,null,null,null,{"$f":"ROUND(I140+J140,-1)","v":0}]
[]
[null,null,null,null,null,{"$f":"ROUND(D142+E142,-1)","v":0},null,null,null,null,{"$f":"ROUND(I142+J142,-1)","v":0}]
[]
[null,null,null,null,null,{"$f":"ROUND(D144+E144,-1)","v":0},null,null,null,null,{"$f":"ROUND(I144+J144,-1)","v":0}]
[]
[null,null,null,null,null,{"$f":"ROUND(D146+E146,-1)","v":0},null,null,null,null,{"$f":"SUM(F137:F172)+SUM(K137:K145)","v":0}]
[]
[null,null,null,null,null,{"$f":"ROUND(D148+E148,-1)","v":0},null,null,null,null,{"$f":"ROUND(I148+J148,-1)","v":0}]
[]
[null,null,null,null,null,{"$f":"ROUND(D150+E150,-1)","v":0},null,null,null,null,{"$f":"ROUND(I150+J150,-1)","v":0}]
[]
[null,null,null,null,null,{"$f":"ROUND(D152+E152,-1)","v":0},null,null,null,null,{"$f":"ROUND(I152+J152,-1)","v":0}]
[null,null,null,null,null,null,null,null,null,null,null,null,"根切り重複解消には"]
[null,null,null,null,null,{"$f":"ROUND(D154+E154,-1)","v":0},null,null,null,null,{"$f":"ROUND(I154+J154,-1)","v":0},null,"0.65*11+0.7*6+0.4+0.3=",null,{"$f":"0.65*11+0.7*6+0.4+0.3","v":12.05}]
[null,null,null,null,null,null,null,null,null,null,null,null,"12m根切り数量を減らせばよい"]
[null,null,null,null,null,{"$f":"ROUND(D156+E156,-1)","v":0},null,null,null,null,{"$f":"ROUND(I156+J156,-1)","v":0}]
[null,null,null,null,null,null,null,null,null,null,null,null,"平均根切り深さは834+100"]
[null,null,null,null,null,{"$f":"ROUND(D158+E158,-1)","v":0},null,null,null,null,{"$f":"ROUND(I158+J158,-1)","v":0}]
[]
[null,null,null,null,null,{"$f":"ROUND(D160+E160,-1)","v":0},null,null,null,null,{"$f":"ROUND(I160+J160,-1)","v":0}]
[]
[null,null,null,null,null,{"$f":"ROUND(D162+E162,-1)","v":0},null,null,null,null,{"$f":"ROUND(I162+J162,-1)","v":0}]
[]
[null,null,null,null,null,{"$f":"ROUND(D164+E164,-1)","v":0},null,null,null,null,{"$f":"ROUND(I164+J164,-1)","v":0}]
[]
[null,null,null,null,null,{"$f":"ROUND(D166+E166,-1)","v":0},null,null,null,null,{"$f":"ROUND(I166+J166,-1)","v":0}]
[]
[null,null,null,null,null,{"$f":"ROUND(D168+E168,-1)","v":0},null,null,null,null,{"$f":"ROUND(I168+J168,-1)","v":0}]
[]
[null,null,null,null,null,{"$f":"ROUND(D170+E170,-1)","v":0},null,null,null,null,{"$f":"ROUND(I170+J170,-1)","v":0}]
[]
[null,null,null,null,null,{"$f":"ROUND(D172+E172,-1)","v":0},null,null,null,null,{"$f":"ROUND(I172+J172,-1)","v":0}]